**Joint Crediting Mechanism Approved Methodology ET\_AM002**

**“Electrification by photovoltaic power generation in Ethiopia”**

|  |
| --- |
| * 1. **Title of the methodology**
 |

|  |
| --- |
| Electrification by photovoltaic power generation in Ethiopia, ver01.0 |

|  |
| --- |
| * 1. **Terms and definitions**
 |

|  |  |
| --- | --- |
| Terms | Definitions |
| Photovoltaic power generationsystem (PV) | An electricity generation system which converts sunlight into electricity by the use of photovoltaic (PV) modules. The system also includes ancillary equipment such as inverters required to change the electrical current from direct current (DC) to alternating current (AC). |
| Recipient | Facilities that receive and consume the electricity generated by the project, e.g. households, public buildings, small office or production facility. |

|  |
| --- |
| * 1. **Summary of the methodology**
 |

|  |  |
| --- | --- |
| Items | Summary |
| *GHG emission reduction measures* | Displacement of electricity using diesel fuel and/or lighting using kerosene by installation and operation of the PV. |
| *Calculation of reference emissions* | Reference emissions are calculated on the basis of the consumption of electricity generated by the PV multiplied by emission factor of diesel or kerosene. |
| *Calculation of project emissions* | The project does not assume any project emissions. |
| *Monitoring parameters* | * The actual amount of electricity consumed by all the recipients (*Calculation method 1*).
* The actual amount of electricity consumed by each recipient (*Calculation method 2*).
 |

|  |
| --- |
| * 1. **Eligibility criteria**
 |

This methodology is applicable to projects that satisfy all of the following criteria.

|  |  |
| --- | --- |
| Criterion 1 | The project newly installs the PV[[1]](#footnote-2) to supply electricity for recipients, who are not connected to national grid and who have not used renewable electricity until the earliest date of construction for the project. |
| Criterion 2 | The total capacity of PV installed by the project is less than 135 kW.[[2]](#footnote-3) |
| Criterion 3 | The PV modules have obtained a certification of design qualifications (IEC 61215, IEC 61646 or IEC 62108) and safety qualification (IEC 61730-1 and IEC 61730-2). |

|  |
| --- |
| * 1. **Emission Sources and GHG types**
 |

|  |
| --- |
| Reference emissions |
| Emission sources | GHG types |
| Fuel consumption by kerosene lamps | CO2 |
| Fuel consumption by electricity generation | CO2 |
| Project emissions |
| Emission sources | GHG types |
| Generation of electricity from PV | N/A |

|  |
| --- |
| * 1. **Establishment and calculation of reference emissions**
 |

**F.1. Establishment of reference emissions**

|  |
| --- |
| The project is executed in the off-grid area. Therefore, the reference scenario assumes the emissions due to electricity supplied by diesel generation unit or kerosene lamps.In order to achieve net emission reductions, the reference emissions are calculated based upon the conservatively selected emission factors for diesel generation unit based on Table 2 in CDM approved small scale methodology, AMS-I.F by applying the lowest value within the next higher capacity range of diesel generators to that of the project generation systems.Accordingly, in the case of *xp*< 35 (*xp*: the total capacity of the project generation systems [kW]2), the emission factor of 1.0 [tCO2/MWh] is applied, which is the lowest value within the range of 35 ≤*xd*< 135 (*xd*: the capacity of the diesel generator systems [kW]) in the table. In the case of 35 ≤*xp*<135, the emission factor 0.8 [tCO2/MWh] is applied, which is the lowest value within the range of 135 ≤*xd*< 200. |

**F.2. Calculation of reference emissions**

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| If electricity consumption of each recipient is monitored, the *Calculation method 2* can be applied as necessary. If each is not monitored, the *Calculation method 1* is applied.Calculation method 1Where:

|  |  |
| --- | --- |
|  | Reference emissions during the period *p* [tCO2/p] |
|  | Total electricity consumption by all the recipients during the period *p* [MWh/p][[3]](#footnote-4)  |
|  | CO2 emission factor of the diesel generation unit [tCO2/MWh] |

Calculation method 2* + In case of *ECi,p* ≤ *vb*

* + In case of *ECi,p* > *vb*

Where:

|  |  |
| --- | --- |
|  | Reference emissions during the period *p* [tCO2/p] |
|  | The period of the monitoring [day] |
|  | Reference emissions of the recipient *i* during the period *p* [tCO2/p] |
|  | The number of the recipients in the project activity during the period *p* |
|  | The threshold of the electricity consumption for the recipient *i* during the period *p* [MWh], accounted as displacement of kerosene lamps. |
|  | The minimum electricity consumption for lighting per recipient per year [MWh], the default value is 0.055 [MWh]. |
|  | Electricity consumption of the recipient *i* during the period *p*[MWh/p]3 |
|  | CO2 emission factor of the lighting by kerosene lamps [tCO2/MWh] |
|  | CO2 emission factor of the diesel generation unit [tCO2/MWh] |

 |

|  |
| --- |
| * 1. **Calculation of project emissions**
 |

|  |  |  |
| --- | --- | --- |
| There are no project emissions.Where:

|  |  |
| --- | --- |
| *PEp* | Project emissions during the period *p* [tCO2/p] |

 |

|  |
| --- |
| * 1. **Calculation of emissions reductions**
 |

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Emission reductions are calculated as the difference between the reference emissions and project emissions, as follows.Where:

|  |  |
| --- | --- |
| *ERp* | Emission reductions during the period *p* [tCO2/p] |
| *REp* | Reference emissions during the period *p* [tCO2/p]  |
| *PEp* | Project emissions during the period *p* [tCO2/p] |

 |

|  |
| --- |
| * 1. **Data and parameters fixed *ex ante***
 |

The source of each data and parameter fixed *ex ante* is listed as below.

|  |  |  |
| --- | --- | --- |
| Parameter | Description of data | Source |
| *EFCO2* | CO2 emission factor of the diesel generation unit [tCO2/MWh]In the case of *xp*< 35 (*xp*: the total capacity of the project generation systems [kW]2), the emission factor of 1.0 [tCO2/MWh] is applied. In the case of 35 ≤*xp*<135, the emission factor 0.8 [tCO2/ MWh] is applied. | Refer to the available value in “Table 2. Emission factors for diesel generator systems (in [kg CO2e/kWh]) for three different levels of load factors” of CDM approved small scale methodology AMS-I.F.This parameter is determined at the time of validation in accordance with the latest version of the above source. |
|  | CO2 emission factor of the lighting by kerosene lamps [tCO2/MWh]Default value: 6.8 [tCO2/MWh] | Refer to the available value of the CDM Methodology, AMS-I.L. “Electrification of rural communities using renewable energy”.This parameter is determined at the time of validation in accordance with the latest version of the above source. |
|  | The minimum electricity consumption for lighting per recipient per year [MWh](Two 15W CFLs which are equivalent to kerosene lamp run for 5 [hrs/day] for 365 days consuming 0.055 [MWh])Default value: 0.055 [MWh] | Refer to the available value in the CDM Methodology, AMS-I.L “Electrification of rural communities using renewable energy”.This parameter is determined at the time of validation in accordance with the latest version of the above source. |

History of the document

|  |  |  |
| --- | --- | --- |
| Version | Date | Contents revised |
| 01.0 | 21 March 2017 | JC3, Annex 2Initial approval. |
|  |  |  |
|  |  |  |

1. This methodology is also applicable to projects which newly install PVs together with the “micro hydropower generation unit” as defined by the latest version of ET\_AM001, “Electrification of communities using Micro hydropower generation”. [↑](#footnote-ref-2)
2. In the case mentioned in footnote 1, the total capacity of the project is determined as the sum of the capacity of the units installed under this methodology and “micro hydropower generation unit” as defined in ET\_AM001. [↑](#footnote-ref-3)
3. In the case mentioned in footnote 1, these electricity consumptions include the electricity supplied by “micro hydropower generation unit” defined by the ET\_AM001, and the consumed electricity generated by the PV and the “micro hydropower generation unit” can be monitored collectively. [↑](#footnote-ref-4)