Joint Crediting Mechanism Approved Methodology TH_AM019

“Installation of Biomass Boiler”

- Title of the methodology

- Installation of Biomass Boiler, Ver. 01.0

- Terms and definitions

| Terms | Definitions |
| --- | --- |
| Biomass | Biomass is non-fossilized and biodegradable organic material originating from plants, animals and microorganisms. This includes products, by-products, residues and waste from agriculture, forestry and related industries as well as the non-fossilized and biodegradable organic fractions of industrial and municipal wastes. |
| Biomass residue | Biomass residues are defined as biomass that is a by-product, residue or waste stream from agriculture, forestry and related industries. This does not include municipal waste or other wastes that contain fossilized and/or non-biodegradable material (however, small fractions of inert inorganic material like soil or sands may be included). |
| Biomass boiler | A boiler which combusts biomass to heat water and produce steam. |
| Boiler efficiency | The ratio of the total absorption heating value of the usable heat output to the heat amount contained in fuel fired in the boiler. In other words, it means that 1 minus the fraction of the heat loss. The heat loss includes the one by blow water. |
| Drain recovery system | Drain recovery system is an equipment which recovers drain with some heating energy and reuses for boiler feed water. |

- Summary of the methodology

| - Items | - Summary |
| --- | --- |
| - GHG emission reduction measures | - One or more biomass boilers are introduced and combust biomass instead of fossil fuels to generate heat and produce steam, resulting in reduction of GHG emissions from fossil fuels. |
| - Calculation of reference emissions | Reference emissions are CO2 emissions from heat generation by a reference boiler which combusts fossil fuel(s). They are calculated by the amount of produced steam by the project biomass boiler(s), specific enthalpies of steam and water, reference boiler efficiency and a CO2 emission factor of fossil fuel. |
| - Calculation of project emissions | - Project emissions are CO2 emissions from electricity consumed by the project biomass boiler(s), combustion of fossil fuel(s) by the project biomass boiler(s) and transportation of biomass. - CO2 emissions from consumed electricity are calculated by the amount of electricity consumed by the project biomass boiler(s) and its CO2 emission factor. - In case the project biomass boiler(s) combusts fossil fuel(s) as well as biomass, project emissions include CO2 emissions from the combustion of fossil fuel(s), which are calculated by the amount of fossil fuel(s), net calorific value of fossil fuel(s) and its/their CO2 emission factors. - CO2 emissions from biomass transportation are calculated by roundtrip distance of biomass transportation, mass of transported biomass and a CO2 emission factor for biomass transportation. |
| - Monitoring parameters | - Amount of steam produced by the project biomass boiler(s) - Amount of electricity consumed by the project biomass boiler(s) and ancillary equipment - Amount of fossil fuel consumed by the project biomass boiler(s) - Round trip distance of biomass transportation - Mass of transported biomass |

- Eligibility criteria

- This methodology is applicable to projects that satisfy all of the following criteria.

| Criterion 1 | One or more biomass boilers are newly installed or replace an existing fossil fuel-fired boiler(s). |
| --- | --- |
| Criterion 2 | In case of utilizing biomass fuel for project biomass boiler(s), only solid biomass fuels made of biomass residues are used. |
| Criterion 3 | Biomass residues utilized for the project are not used for energy application in absence of the project activity. This can be demonstrated by the letter from suppliers of biomass. |

- Emission Sources and GHG types

| Reference emissions |  |
| --- | --- |
| Emission sources | GHG types |
| Fossil fuel(s) consumed for generation of heat to produce steam | CO2 |
| Project emissions |  |
| Emission sources | GHG types |
| Electricity consumed by the project biomass boiler(s) and ancillary equipment | CO2 |
| Fossil fuel(s) combusted by the project biomass boiler(s) | CO2 |
| Fossil fuel(s) consumption by transportation of biomass between the place of biomass supplier’s stockyard and the project site | CO2 |

- Establishment and calculation of reference emissions

F.1. Establishment of reference emissions

Reference emissions are calculated based on the amount of steam produced by the project boiler(s), specific enthalpies of produced steam and feed water, reference boiler efficiency and a CO2 emission factor of reference fossil fuel. A default value for the reference boiler efficiency is conservatively set to 89% taking the highest value among the fossil fuel-fired boilers sold in Thailand, and specific enthalpy of feed water is conservatively calculated by setting the highest air temperature recorded in Thailand as the temperature of feed water, so as to ensure net emission reductions.

F.2. Calculation of reference emissions

REp= SPPJ, p×h''steam-h'water103×100ηRE×EFfuel, RE REp Reference emissions during the period p [tCO2/p] SPPJ,p The amount of steam produced by the project biomass boiler(s) during the period p [t/p] h’’steam Specific enthalpy of produced steam [kJ/kg] h’water Specific enthalpy of feed water [kJ/kg] ηRE Reference boiler efficiency [%] EFfuel,RE CO2 emission factor for fossil fuel consumed by the reference boiler [tCO2/GJ]

- Calculation of project emissions

PEp= PEelec,p+PEfuel,p+PEtr,p PEelec,p=ECPJ,p×EFelec PEfuel,p=iFCPJ,i,p×NCVfuel,PJ,i×EFfuel,PJ,i PEtr,p= jDj,p×mj,p×EFtr PEp Project emissions during the period p [tCO2/p] PEelec,p Project emissions from consumed electricity by the project biomass boiler(s) and ancillary equipment during the period p [tCO2/p] PEfuel,p Project emissions from combustion of fossil fuel by the project boiler(s) during the period p [tCO2/p] PEtr,p Project emissions from transportation of biomass during the period p [tCO2/p] ECPJ,p The amount of electricity consumed by the project biomass boiler(s) and ancillary equipment during the period p [MWh/p] EFelec CO2 emission factor of consumed electricity [tCO2/MWh] i Identification number of fossil fuel type [-] FCPJ,i,p The amount of fossil fuel consumed by the project biomass boiler(s) for the fuel type i during the period p [mass or volume/p] NCVfuel,PJ,i Net calorific value of fossil fuel used by the project biomass boiler(s) for the fuel type i [GJ/mass or volume] EFfuel,PJ,i CO2 emission factor of fossil fuel used by the project biomass boiler(s) for the fuel type i [tCO2/GJ] j Identification number of the round trip for biomass transportation between the place of biomass supplier’s stockyard and the project site [-] Dj,p Round trip distance of the biomass transportation j during the period p [km] mj,p Mass of biomass transported in the biomass transportation j during the period p [t] EFtr CO2 emission factor for biomass transportation [tCO2/(t‧km)] * If the round trip distance for biomass transportation Dj,p is less than 200 km and the total rated thermal output of the project biomass boiler(s) is equal to or less than 45 MW, the emissions from the transportation may be neglected.

- Calculation of emissions reductions

ERp=REp-PEp ERp Emission reductions during the period p [tCO2/p] REp Reference emissions during the period p [tCO2/p] PEp Project emissions during the period p [tCO2/p]

- Data and parameters fixed ex ante

The source of each data and parameter fixed ex ante is listed as below.

| Parameter | Description of data | Source |
| --- | --- | --- |
| h’’steam | Specific enthalpy of produced steam [kJ/kg]. | Saturated steam table based on “IAPWS Industrial Formulation” (e.g. steam table published by The Japan Society of Mechanical Engineers), using the values for setting steam pressure according to vendor specification or operation manual on the site. |
| h’water | Specific enthalpy of feed water [kJ/kg]. Calculated based on the following equation: h'water=TFW×Cp Where: TFW Temperature of feed water [°C] Cp Specific heat capacity of water [kJ/(kg‧°C)] (= 4.184 kJ/(kg‧°C)) | (In case that hot water recovered by drain recovery system is not reused for feed water into project biomass boiler(s)) The highest air temperature recorded in Thailand by the Thai Meteorological Department is applied to TFW for conservativeness. (In case that hot water recovered by drain recovery system is reused for feed water into project biomass boiler(s)) TFW is fixed at the values taken from implementation plan or operation manual on the site for feed water into project biomass boiler(s). Cp: Theoretical value provided in table 6 of Cabinet Order No. 357 of 1992, Japan |
| ηRE | Reference boiler efficiency [%]. The default value is set to 89%. | JCM approved methodology TH_AM009. The value is derived from the survey. It is revised if deemed necessary by the Joint Committee. |
| EFfuel,RE | CO2 emission factor for fossil fuel consumed by the reference boiler [tCO2/GJ]. CO2 emission factor of natural gas is applied in this methodology in a conservative manner. | In the order of preference: a) regional or national default values; or b) IPCC default values provided in table 1.4 of Ch.1 Vol.2 of 2006 IPCC Guidelines on National GHG Inventories. Lower value is applied. |
| EFelec | CO2 emission factor of consumed electricity. When the project biomass boiler(s) consumes only 1) grid electricity, 2) captive electricity or 3) electricity directly supplied from other sources (e.g. independent power producer (IPP), small power producer (SPP) and very small power producer (VSPP)) to the project site, the project participant applies the CO2 emission factor respectively. When the project biomass boiler(s) may consume electricity supplied from more than 1 electric source, the project participant applies the CO2 emission factor with the lowest value. [CO2 emission factor] Case 1) Grid electricity The most recent value available from the source stated in this table at the time of validation Case 2) Captive electricity including cogeneration system EFelec is determined based on the following options: - Calculated from its power generation efficiency (ηelec [%]) obtained from manufacturer’s specification. The power generation efficiency based on lower heating value (LHV) of the captive power generation system from the manufacturer’s specification is applied; EFgen=3.6 × 100ηelec×EFfuel b) Calculated from measured data The power generation efficiency calculated from monitored data of the amount of fuel input for power generation (FCPJ,p) and the amount of electricity generated (EGPJ,p) during the monitoring period p is applied. The measurement is conducted with the monitoring equipment to which calibration certificate is issued by an entity accredited under national/international standards; EFelec=FCPJ,p×NCVfuel×EFfuel×1EGPJ,p Where: NCVfuel :; Net calorific value of consumed fuel [GJ/mass or volume]. Note: In case the captive electricity generation system meets all of the following conditions, the value in the following table may be applied to EFelec depending on the consumed fuel type. - The system is non-renewable generation system - Electricity generation capacity of the system is less than or equal to 15 MW fuel type; Diesel fuel; Natural gas. EFelec; 0.8 *1; 0.46 *2. *1 The most recent value at the time of validation is applied. *2 The value is calculated with the equation in the option a) above. The lower value of default effective CO2 emission factor for natural gas (0.0543tCO2/GJ), and the most efficient value of default efficiency for off-grid gas turbine systems (42%) are applied. Case 3) Electricity directly supplied from other sources including cogeneration system EFelec is determined based on the following options: a) The value provided by the electricity supplier with the evidence; b) The value calculated in the same manner for the option a) of 2) captive electricity as instructed above; c) The value calculated in the same manner for the option b) of 2) captive electricity as instructed above; When the project biomass boiler(s) may consume electricity supplied from more than 1 electric source, the project participant applies the CO2 emission factor with the lowest value. | Case 1) [Grid electricity] The most recent value available at the time of validation is applied and fixed for the monitoring period thereafter. The data is sourced from “Grid Emission Factor (GEF) of Thailand”, endorsed by Thailand Greenhouse Gas Management Organization (TGO) unless otherwise instructed by the Joint Committee. Case 2) [Captive electricity including cogeneration system] For Option a) Specification of the captive power generation system provided by the manufacturer (ηelec [%]). CO2 emission factor of the fossil fuel type used in the captive power generation system (EFfuel [tCO2/GJ]) For Option b) Generated and supplied electricity by the captive power generation system (EGPJ,p [MWh/p]). Fuel amount consumed by the captive power generation system (FCPJ,p [mass or volume/p]). Net calorific value (NCVfuel [GJ/mass or volume]) and CO2 emission factor of the fuel (EFfuel [tCO2/GJ]) in order of preference: 1) values provided by the fuel supplier; 2) measurement by the project participants; 3) regional or national default values; 4) IPCC default values provided in tables 1.2 and 1.4 of Ch.1 Vol.2 of 2006 IPCC Guidelines on National GHG Inventories. Upper value is applied. [Captive electricity with diesel fuel] CDM approved small scale methodology: AMS-I.A. [Captive electricity with natural gas] 2006 IPCC Guidelines on National GHG Inventories for the source of EF of natural gas. CDM Methodological tool "Determining the baseline efficiency of thermal or electric energy generation systems version 02.0" for the default efficiency for off-grid power plants. Case 3) [Electricity directly supplied from other sources including cogeneration system] For Option a) The evidence stating information relevant to the value of emission factor (e.g. data of power generation, type of power plant, type of fossil fuel, period of time). |
| NCVfuel,PJ,i | Net calorific value of fossil fuel used by the project biomass boiler(s) for the fuel type i [GJ/mass or volume] | In the order of preference: a) values provided by the fuel supplier; b) measurement by the project participants; c) regional or national default values; or d) IPCC default values provided in table 1.2 of Ch.1 Vol.2 of 2006 IPCC Guidelines on National GHG Inventories. Upper value is applied. |
| EFfuel,PJ,i | CO2 emission factor of fossil fuel used by the project biomass boiler(s) for the fuel type i [tCO2/GJ] | In order of preference: a) values provided by the fuel supplier; b) measurement by the project participants; c) regional or national default values; or d) IPCC default values provided in table 1.4 of Ch.1 Vol.2 of 2006 IPCC Guidelines on National GHG Inventories. Upper value is applied. |
| EFtr | CO2 emission factor for biomass transportation [tCO2/(t‧km)] The default value in the following table is applied. Vehicle class; EFtr [tCO2/(t‧km)]. Light vehicles; 0.000245. Heavy vehicles; 0.000129. Light vehicles: Vehicles with a gross vehicle mass being less or equal to 26 tonnes. Heavy vehicles: Vehicles with a gross vehicle mass being higher than 26 tonnes. If both vehicle classes are used in the project, the larger value (0.000245 tCO2/(t‧km)) is applied. | CDM methodological tool “TOOL 12: Project and leakage emissions from transportation of freight, version 01.1.0” |

History of the document

| Version | Date | Contents revised |
| --- | --- | --- |
| 01.0 | 14/07/2025 | Electronic decision by the Joint Committee Initial approval. |