## MPS(input)
Monitoring Spreadsheet: JCM_VN_AM015_ver01.0
Reference Number:
Monitoring Plan Sheet (Input Sheet) [Attachment to Project Design Document]
Table 1: Parameters to be monitored ex post
| (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i) | (j)
| Monitoring point No. | Parameters | Description of data | Estimated Values | Units | Monitoring option | Source of data | Measurement methods and procedures | Monitoring frequency | Other comments
| 1 | ECPJ,i,p | Electricity consumption of compressor of outdoor unit in project split type air conditioner(s) i which is installed compressor control system(s) during the period p | 0 | MWh/p | Option C | Monitored data | Data is measured by measuring equipment. The measuring equipment is replaced or calibrated at an interval following the regulations in the country in which the measuring equipment is commonly used or according to the manufacturer’s recommendation, unless a type approval, manufacturer’s specification, or certification issued by an entity accredited under international/national standards for the measuring equipment has been prepared by the time of installation. | Continuously | Monitored values are input on "MPS(input_separate)" sheet
Table 2: Project-specific parameters to be fixed ex ante
| (a) | (b) |  | (c) | (d) | (e) |  |  | (f)
| Parameters | Description of data |  | Estimated Values | Units | Source of data |  |  | Other comments
| η | Project energy saving factor |  |  | - | Determined by following stepwise procedures as in Section F1 "Establishment of reference emissions" of the methodology |  |  | N/A
| EFelec | CO2 emission factor of consumed electricity |  |  | tCO2/MWh | [Grid electricity] Ministry of Natural Resources and Environment of Vietnam (MONRE), Vietnamese DNA for CDM unless otherwise instructed by the Joint Committee. [Captive electricity] For the option a) Specification of the captive power generation system provided by the manufacturer (ηelec,CG [%]). CO2 emission factor of the fossil fuel type used in the captive power generation system (EFfuel,CG [tCO2/GJ]) For the option b) Generated and supplied electricity by the captive power generation system (EGPJ,CG,p [MWh/p]). Fuel amount consumed by the captive power generation system (FCPJ,CG,p [mass or volume/p]). Net calorific value (NCVfuel,CG [GJ/mass or volume]) and CO2 emission factor (EFfuel,CG [tCO2/GJ]) of the fuel consumed by the captive power generation system in order of preference: 1) values provided by the fuel supplier; 2) measurement by the project participants; 3) regional or national default values; 4) IPCC default values provided in tables 1.2 and 1.4 of Ch.1 Vol.2 of 2006 IPCC Guidelines on National GHG Inventories. Lower value is applied. [Captive electricity with diesel fuel] CDM approved small scale methodology: AMS-I.A. [Captive electricity with natural gas] 2006 IPCC Guidelines on National GHG Inventories for the source of EF of natural gas. CDM Methodological tool "Determining the baseline efficiency of thermal or electric energy generation systems version02.0" for the default efficiency for off-grid power plants. |  |  | N/A
Table3: Ex-ante estimation of CO2 emission reductions
| CO2 emission reductions |  | Units
| 0 |  | tCO2/p
[Monitoring option]
| Option A | Based on public data which is measured by entities other than the project participants (Data used: publicly recognized data such as statistical data and specifications)
| Option B | Based on the amount of transaction which is measured directly using measuring equipments (Data used: commercial evidence such as invoices)
| Option C | Based on the actual measurement using measuring equipments (Data used: measured values)

## MPS(input_separate)
Monitoring Spreadsheet: JCM_VN_AM015_ver01.0
Reference Number:
Monitoring Plan Sheet (Input _separate Sheet) [Attachment to Project Design Document]
Table 1: Parameters to be monitored ex post | Parameters to be monitored ex post
| Parameter | i | ECPJ,i,p | -
| Description of data | An index variable | Electricity consumption of compressor of outdoor unit in project split type air conditioner(s) i which is installed compressor control system(s) during the period p | Units
| Estimated Values | 1 |  | MWh/p
|  | 2 |  | MWh/p
|  | 3 |  | MWh/p
|  | 4 |  | MWh/p
|  | 5 |  | MWh/p
|  | 6 |  | MWh/p
|  | 7 |  | MWh/p
|  | 8 |  | MWh/p
|  | 9 |  | MWh/p
|  | 10 |  | MWh/p
|  | 11 |  | MWh/p
|  | 12 |  | MWh/p
|  | 13 |  | MWh/p
|  | 14 |  | MWh/p
|  | 15 |  | MWh/p
|  | 16 |  | MWh/p
|  | 17 |  | MWh/p
|  | 18 |  | MWh/p
|  | 19 |  | MWh/p
|  | 20 |  | MWh/p
|  | 21 |  | MWh/p
|  | 22 |  | MWh/p
|  | 23 |  | MWh/p
|  | 24 |  | MWh/p
|  | 25 |  | MWh/p
|  | 26 |  | MWh/p
|  | 27 |  | MWh/p
|  | 28 |  | MWh/p
|  | 29 |  | MWh/p
|  | 30 |  | MWh/p
|  | 31 |  | MWh/p
|  | 32 |  | MWh/p
|  | 33 |  | MWh/p
|  | 34 |  | MWh/p
|  | 35 |  | MWh/p
|  | 36 |  | MWh/p
|  | 37 |  | MWh/p
|  | 38 |  | MWh/p
|  | 39 |  | MWh/p
|  | 40 |  | MWh/p
|  | 41 |  | MWh/p
|  | 42 |  | MWh/p
|  | 43 |  | MWh/p
|  | 44 |  | MWh/p
|  | 45 |  | MWh/p
|  | 46 |  | MWh/p
|  | 47 |  | MWh/p
|  | 48 |  | MWh/p
|  | 49 |  | MWh/p
|  | 50 |  | MWh/p
|  | 51 |  | MWh/p
|  | 52 |  | MWh/p
|  | 53 |  | MWh/p
|  | 54 |  | MWh/p
|  | 55 |  | MWh/p
|  | 56 |  | MWh/p
|  | 57 |  | MWh/p
|  | 58 |  | MWh/p
|  | 59 |  | MWh/p
|  | 60 |  | MWh/p
|  | 61 |  | MWh/p
|  | 62 |  | MWh/p
|  | 63 |  | MWh/p
|  | 64 |  | MWh/p
|  | 65 |  | MWh/p
|  | 66 |  | MWh/p
|  | 67 |  | MWh/p
|  | 68 |  | MWh/p
|  | 69 |  | MWh/p
|  | 70 |  | MWh/p
|  | 71 |  | MWh/p
|  | 72 |  | MWh/p
|  | 73 |  | MWh/p
|  | 74 |  | MWh/p
|  | 75 |  | MWh/p
|  | 76 |  | MWh/p
|  | 77 |  | MWh/p
|  | 78 |  | MWh/p
|  | 79 |  | MWh/p
|  | 80 |  | MWh/p
|  | 81 |  | MWh/p
|  | 82 |  | MWh/p
|  | 83 |  | MWh/p
|  | 84 |  | MWh/p
|  | 85 |  | MWh/p
|  | 86 |  | MWh/p
|  | 87 |  | MWh/p
|  | 88 |  | MWh/p
|  | 89 |  | MWh/p
|  | 90 |  | MWh/p
|  | 91 |  | MWh/p
|  | 92 |  | MWh/p
|  | 93 |  | MWh/p
|  | 94 |  | MWh/p
|  | 95 |  | MWh/p
|  | 96 |  | MWh/p
|  | 97 |  | MWh/p
|  | 98 |  | MWh/p
|  | 99 |  | MWh/p
|  | 100 |  | MWh/p
|  | 101 |  | MWh/p
|  | 102 |  | MWh/p
|  | 103 |  | MWh/p
|  | 104 |  | MWh/p
|  | 105 |  | MWh/p
|  | 106 |  | MWh/p
|  | 107 |  | MWh/p
|  | 108 |  | MWh/p
|  | 109 |  | MWh/p
|  | 110 |  | MWh/p
|  | 111 |  | MWh/p
|  | 112 |  | MWh/p
|  | 113 |  | MWh/p
|  | 114 |  | MWh/p
|  | 115 |  | MWh/p
|  | 116 |  | MWh/p
|  | 117 |  | MWh/p
|  | 118 |  | MWh/p
|  | 119 |  | MWh/p
|  | 120 |  | MWh/p
|  | 121 |  | MWh/p
|  | 122 |  | MWh/p
|  | 123 |  | MWh/p
|  | 124 |  | MWh/p
|  | 125 |  | MWh/p
|  | 126 |  | MWh/p
|  | 127 |  | MWh/p
|  | 128 |  | MWh/p
|  | 129 |  | MWh/p
|  | 130 |  | MWh/p
|  | 131 |  | MWh/p
|  | 132 |  | MWh/p
|  | 133 |  | MWh/p
|  | 134 |  | MWh/p
|  | 135 |  | MWh/p
|  | 136 |  | MWh/p
|  | 137 |  | MWh/p
|  | 138 |  | MWh/p
|  | 139 |  | MWh/p
|  | 140 |  | MWh/p
|  | 141 |  | MWh/p
|  | 142 |  | MWh/p
|  | 143 |  | MWh/p
|  | 144 |  | MWh/p
|  | 145 |  | MWh/p
|  | 146 |  | MWh/p
|  | 147 |  | MWh/p
|  | 148 |  | MWh/p
|  | 149 |  | MWh/p
|  | 150 |  | MWh/p
|  | 151 |  | MWh/p
|  | 152 |  | MWh/p
|  | 153 |  | MWh/p
|  | 154 |  | MWh/p
|  | 155 |  | MWh/p
|  | 156 |  | MWh/p
|  | 157 |  | MWh/p
|  | 158 |  | MWh/p
|  | 159 |  | MWh/p
|  | 160 |  | MWh/p
|  | 161 |  | MWh/p
|  | 162 |  | MWh/p
|  | 163 |  | MWh/p
|  | 164 |  | MWh/p
|  | 165 |  | MWh/p
|  | 166 |  | MWh/p
|  | 167 |  | MWh/p
|  | 168 |  | MWh/p
|  | 169 |  | MWh/p
|  | 170 |  | MWh/p
|  | 171 |  | MWh/p
|  | 172 |  | MWh/p
|  | 173 |  | MWh/p
|  | 174 |  | MWh/p
|  | 175 |  | MWh/p
|  | 176 |  | MWh/p
|  | 177 |  | MWh/p
|  | 178 |  | MWh/p
|  | 179 |  | MWh/p
|  | 180 |  | MWh/p
|  | 181 |  | MWh/p
|  | 182 |  | MWh/p
|  | 183 |  | MWh/p
|  | 184 |  | MWh/p
|  | 185 |  | MWh/p
|  | 186 |  | MWh/p
|  | 187 |  | MWh/p
|  | 188 |  | MWh/p
|  | 189 |  | MWh/p
|  | 190 |  | MWh/p
|  | 191 |  | MWh/p
|  | 192 |  | MWh/p
|  | 193 |  | MWh/p
|  | 194 |  | MWh/p
|  | 195 |  | MWh/p
|  | 196 |  | MWh/p
|  | 197 |  | MWh/p
|  | 198 |  | MWh/p
|  | 199 |  | MWh/p
|  | 200 |  | MWh/p
|  | 201 |  | MWh/p
|  | 202 |  | MWh/p
|  | 203 |  | MWh/p
|  | 204 |  | MWh/p
|  | 205 |  | MWh/p
|  | 206 |  | MWh/p
|  | 207 |  | MWh/p
|  | 208 |  | MWh/p
|  | 209 |  | MWh/p
|  | 210 |  | MWh/p
|  | 211 |  | MWh/p
|  | 212 |  | MWh/p
|  | 213 |  | MWh/p
|  | 214 |  | MWh/p
|  | 215 |  | MWh/p
|  | 216 |  | MWh/p
|  | 217 |  | MWh/p
|  | 218 |  | MWh/p
|  | 219 |  | MWh/p
|  | 220 |  | MWh/p
|  | 221 |  | MWh/p
|  | 222 |  | MWh/p
|  | 223 |  | MWh/p
|  | 224 |  | MWh/p
|  | 225 |  | MWh/p
|  | 226 |  | MWh/p
|  | 227 |  | MWh/p
|  | 228 |  | MWh/p
|  | 229 |  | MWh/p
|  | 230 |  | MWh/p
|  | 231 |  | MWh/p
|  | 232 |  | MWh/p
|  | 233 |  | MWh/p
|  | 234 |  | MWh/p
|  | 235 |  | MWh/p
|  | 236 |  | MWh/p
|  | 237 |  | MWh/p
|  | 238 |  | MWh/p
|  | 239 |  | MWh/p
|  | 240 |  | MWh/p
|  | 241 |  | MWh/p
|  | 242 |  | MWh/p
|  | 243 |  | MWh/p
|  | 244 |  | MWh/p
|  | 245 |  | MWh/p
|  | 246 |  | MWh/p
|  | 247 |  | MWh/p
|  | 248 |  | MWh/p
|  | 249 |  | MWh/p
|  | 250 |  | MWh/p
|  | 251 |  | MWh/p
|  | 252 |  | MWh/p
|  | 253 |  | MWh/p
|  | 254 |  | MWh/p
|  | 255 |  | MWh/p
|  | 256 |  | MWh/p
|  | 257 |  | MWh/p
|  | 258 |  | MWh/p
|  | 259 |  | MWh/p
|  | 260 |  | MWh/p
|  | 261 |  | MWh/p
|  | 262 |  | MWh/p
|  | 263 |  | MWh/p
|  | 264 |  | MWh/p
|  | 265 |  | MWh/p
|  | 266 |  | MWh/p
|  | 267 |  | MWh/p
|  | 268 |  | MWh/p
|  | 269 |  | MWh/p
|  | 270 |  | MWh/p
|  | 271 |  | MWh/p
|  | 272 |  | MWh/p
|  | 273 |  | MWh/p
|  | 274 |  | MWh/p
|  | 275 |  | MWh/p
|  | 276 |  | MWh/p
|  | 277 |  | MWh/p
|  | 278 |  | MWh/p
|  | 279 |  | MWh/p
|  | 280 |  | MWh/p
|  | 281 |  | MWh/p
|  | 282 |  | MWh/p
|  | 283 |  | MWh/p
|  | 284 |  | MWh/p
|  | 285 |  | MWh/p
|  | 286 |  | MWh/p
|  | 287 |  | MWh/p
|  | 288 |  | MWh/p
|  | 289 |  | MWh/p
|  | 290 |  | MWh/p
|  | 291 |  | MWh/p
|  | 292 |  | MWh/p
|  | 293 |  | MWh/p
|  | 294 |  | MWh/p
|  | 295 |  | MWh/p
|  | 296 |  | MWh/p
|  | 297 |  | MWh/p
|  | 298 |  | MWh/p
|  | 299 |  | MWh/p
|  | 300 |  | MWh/p
|  | 301 |  | MWh/p
|  | 302 |  | MWh/p
|  | 303 |  | MWh/p
|  | 304 |  | MWh/p
|  | 305 |  | MWh/p
|  | 306 |  | MWh/p
|  | 307 |  | MWh/p
|  | 308 |  | MWh/p
|  | 309 |  | MWh/p
|  | 310 |  | MWh/p
|  | 311 |  | MWh/p
|  | 312 |  | MWh/p
|  | 313 |  | MWh/p
|  | 314 |  | MWh/p
|  | 315 |  | MWh/p
|  | 316 |  | MWh/p
|  | 317 |  | MWh/p
|  | 318 |  | MWh/p
|  | 319 |  | MWh/p
|  | 320 |  | MWh/p
|  | 321 |  | MWh/p
|  | 322 |  | MWh/p
|  | 323 |  | MWh/p
|  | 324 |  | MWh/p
|  | 325 |  | MWh/p
|  | 326 |  | MWh/p
|  | 327 |  | MWh/p
|  | 328 |  | MWh/p
|  | 329 |  | MWh/p
|  | 330 |  | MWh/p
|  | 331 |  | MWh/p
|  | 332 |  | MWh/p
|  | 333 |  | MWh/p
|  | 334 |  | MWh/p
|  | 335 |  | MWh/p
|  | 336 |  | MWh/p
|  | 337 |  | MWh/p
|  | 338 |  | MWh/p
|  | 339 |  | MWh/p
|  | 340 |  | MWh/p
|  | 341 |  | MWh/p
|  | 342 |  | MWh/p
|  | 343 |  | MWh/p
|  | 344 |  | MWh/p
|  | 345 |  | MWh/p
|  | 346 |  | MWh/p
|  | 347 |  | MWh/p
|  | 348 |  | MWh/p
|  | 349 |  | MWh/p
|  | 350 |  | MWh/p
|  | 351 |  | MWh/p
|  | 352 |  | MWh/p
|  | 353 |  | MWh/p
|  | 354 |  | MWh/p
|  | 355 |  | MWh/p
|  | 356 |  | MWh/p
|  | 357 |  | MWh/p
|  | 358 |  | MWh/p
|  | 359 |  | MWh/p
|  | 360 |  | MWh/p
|  | 361 |  | MWh/p
|  | 362 |  | MWh/p
|  | 363 |  | MWh/p
|  | 364 |  | MWh/p
|  | 365 |  | MWh/p
|  | 366 |  | MWh/p
|  | 367 |  | MWh/p
|  | 368 |  | MWh/p
|  | 369 |  | MWh/p
|  | 370 |  | MWh/p
|  | 371 |  | MWh/p
|  | 372 |  | MWh/p
|  | 373 |  | MWh/p
|  | 374 |  | MWh/p
|  | 375 |  | MWh/p
|  | 376 |  | MWh/p
|  | 377 |  | MWh/p
|  | 378 |  | MWh/p
|  | 379 |  | MWh/p
|  | 380 |  | MWh/p
|  | 381 |  | MWh/p
|  | 382 |  | MWh/p
|  | 383 |  | MWh/p
|  | 384 |  | MWh/p
|  | 385 |  | MWh/p
|  | 386 |  | MWh/p
|  | 387 |  | MWh/p
|  | 388 |  | MWh/p
|  | 389 |  | MWh/p
|  | 390 |  | MWh/p
|  | 391 |  | MWh/p
|  | 392 |  | MWh/p
|  | 393 |  | MWh/p
|  | 394 |  | MWh/p
|  | 395 |  | MWh/p
|  | 396 |  | MWh/p
|  | 397 |  | MWh/p
|  | 398 |  | MWh/p
|  | 399 |  | MWh/p
|  | 400 |  | MWh/p
|  | 401 |  | MWh/p
|  | 402 |  | MWh/p
|  | 403 |  | MWh/p
|  | 404 |  | MWh/p
|  | 405 |  | MWh/p
|  | 406 |  | MWh/p
|  | 407 |  | MWh/p
|  | 408 |  | MWh/p
|  | 409 |  | MWh/p
|  | 410 |  | MWh/p
|  | 411 |  | MWh/p
|  | 412 |  | MWh/p
|  | 413 |  | MWh/p
|  | 414 |  | MWh/p
|  | 415 |  | MWh/p
|  | 416 |  | MWh/p
|  | 417 |  | MWh/p
|  | 418 |  | MWh/p
|  | 419 |  | MWh/p
|  | 420 |  | MWh/p
|  | 421 |  | MWh/p
|  | 422 |  | MWh/p
|  | 423 |  | MWh/p
|  | 424 |  | MWh/p
|  | 425 |  | MWh/p
|  | 426 |  | MWh/p
|  | 427 |  | MWh/p
|  | 428 |  | MWh/p
|  | 429 |  | MWh/p
|  | 430 |  | MWh/p
|  | 431 |  | MWh/p
|  | 432 |  | MWh/p
|  | 433 |  | MWh/p
|  | 434 |  | MWh/p
|  | 435 |  | MWh/p
|  | 436 |  | MWh/p
|  | 437 |  | MWh/p
|  | 438 |  | MWh/p
|  | 439 |  | MWh/p
|  | 440 |  | MWh/p
|  | 441 |  | MWh/p
|  | 442 |  | MWh/p
|  | 443 |  | MWh/p
|  | 444 |  | MWh/p
|  | 445 |  | MWh/p
|  | 446 |  | MWh/p
|  | 447 |  | MWh/p
|  | 448 |  | MWh/p
|  | 449 |  | MWh/p
|  | 450 |  | MWh/p
|  | 451 |  | MWh/p
|  | 452 |  | MWh/p
|  | 453 |  | MWh/p
|  | 454 |  | MWh/p
|  | 455 |  | MWh/p
|  | 456 |  | MWh/p
|  | 457 |  | MWh/p
|  | 458 |  | MWh/p
|  | 459 |  | MWh/p
|  | 460 |  | MWh/p
|  | 461 |  | MWh/p
|  | 462 |  | MWh/p
|  | 463 |  | MWh/p
|  | 464 |  | MWh/p
|  | 465 |  | MWh/p
|  | 466 |  | MWh/p
|  | 467 |  | MWh/p
|  | 468 |  | MWh/p
|  | 469 |  | MWh/p
|  | 470 |  | MWh/p
|  | 471 |  | MWh/p
|  | 472 |  | MWh/p
|  | 473 |  | MWh/p
|  | 474 |  | MWh/p
|  | 475 |  | MWh/p
|  | 476 |  | MWh/p
|  | 477 |  | MWh/p
|  | 478 |  | MWh/p
|  | 479 |  | MWh/p
|  | 480 |  | MWh/p
|  | 481 |  | MWh/p
|  | 482 |  | MWh/p
|  | 483 |  | MWh/p
|  | 484 |  | MWh/p
|  | 485 |  | MWh/p
|  | 486 |  | MWh/p
|  | 487 |  | MWh/p
|  | 488 |  | MWh/p
|  | 489 |  | MWh/p
|  | 490 |  | MWh/p
|  | 491 |  | MWh/p
|  | 492 |  | MWh/p
|  | 493 |  | MWh/p
|  | 494 |  | MWh/p
|  | 495 |  | MWh/p
|  | 496 |  | MWh/p
|  | 497 |  | MWh/p
|  | 498 |  | MWh/p
|  | 499 |  | MWh/p
|  | 500 |  | MWh/p
|  | 501 |  | MWh/p
|  | 502 |  | MWh/p
|  | 503 |  | MWh/p
|  | 504 |  | MWh/p
|  | 505 |  | MWh/p
|  | 506 |  | MWh/p
|  | 507 |  | MWh/p
|  | 508 |  | MWh/p
|  | 509 |  | MWh/p
|  | 510 |  | MWh/p
|  | 511 |  | MWh/p
|  | 512 |  | MWh/p
|  | 513 |  | MWh/p
|  | 514 |  | MWh/p
|  | 515 |  | MWh/p
|  | 516 |  | MWh/p
|  | 517 |  | MWh/p
|  | 518 |  | MWh/p
|  | 519 |  | MWh/p
|  | 520 |  | MWh/p
|  | 521 |  | MWh/p
|  | 522 |  | MWh/p
|  | 523 |  | MWh/p
|  | 524 |  | MWh/p
|  | 525 |  | MWh/p
|  | 526 |  | MWh/p
|  | 527 |  | MWh/p
|  | 528 |  | MWh/p
|  | 529 |  | MWh/p
|  | 530 |  | MWh/p
|  | 531 |  | MWh/p
|  | 532 |  | MWh/p
|  | 533 |  | MWh/p
|  | 534 |  | MWh/p
|  | 535 |  | MWh/p
|  | 536 |  | MWh/p
|  | 537 |  | MWh/p
|  | 538 |  | MWh/p
|  | 539 |  | MWh/p
|  | 540 |  | MWh/p
|  | 541 |  | MWh/p
|  | 542 |  | MWh/p
|  | 543 |  | MWh/p
|  | 544 |  | MWh/p
|  | 545 |  | MWh/p
|  | 546 |  | MWh/p
|  | 547 |  | MWh/p
|  | 548 |  | MWh/p
|  | 549 |  | MWh/p
|  | 550 |  | MWh/p
|  | 551 |  | MWh/p
|  | 552 |  | MWh/p
|  | 553 |  | MWh/p
|  | 554 |  | MWh/p
|  | 555 |  | MWh/p
|  | 556 |  | MWh/p
|  | 557 |  | MWh/p
|  | 558 |  | MWh/p
|  | 559 |  | MWh/p
|  | 560 |  | MWh/p
|  | 561 |  | MWh/p
|  | 562 |  | MWh/p
|  | 563 |  | MWh/p
|  | 564 |  | MWh/p
|  | 565 |  | MWh/p
|  | 566 |  | MWh/p
|  | 567 |  | MWh/p
|  | 568 |  | MWh/p
|  | 569 |  | MWh/p
|  | 570 |  | MWh/p
|  | 571 |  | MWh/p
|  | 572 |  | MWh/p
|  | 573 |  | MWh/p
|  | 574 |  | MWh/p
|  | 575 |  | MWh/p
|  | 576 |  | MWh/p
|  | 577 |  | MWh/p
|  | 578 |  | MWh/p
|  | 579 |  | MWh/p
|  | 580 |  | MWh/p
|  | 581 |  | MWh/p
|  | 582 |  | MWh/p
|  | 583 |  | MWh/p
|  | 584 |  | MWh/p
|  | 585 |  | MWh/p
|  | 586 |  | MWh/p
|  | 587 |  | MWh/p
|  | 588 |  | MWh/p
|  | 589 |  | MWh/p
|  | 590 |  | MWh/p
|  | 591 |  | MWh/p
|  | 592 |  | MWh/p
|  | 593 |  | MWh/p
|  | 594 |  | MWh/p
|  | 595 |  | MWh/p
|  | 596 |  | MWh/p
|  | 597 |  | MWh/p
|  | 598 |  | MWh/p
|  | 599 |  | MWh/p
|  | 600 |  | MWh/p
|  | 601 |  | MWh/p
|  | 602 |  | MWh/p
|  | 603 |  | MWh/p
|  | 604 |  | MWh/p
|  | 605 |  | MWh/p
|  | 606 |  | MWh/p
|  | 607 |  | MWh/p
|  | 608 |  | MWh/p
|  | 609 |  | MWh/p
|  | 610 |  | MWh/p
|  | 611 |  | MWh/p
|  | 612 |  | MWh/p
|  | 613 |  | MWh/p
|  | 614 |  | MWh/p
|  | 615 |  | MWh/p
|  | 616 |  | MWh/p
|  | 617 |  | MWh/p
|  | 618 |  | MWh/p
|  | 619 |  | MWh/p
|  | 620 |  | MWh/p
|  | 621 |  | MWh/p
|  | 622 |  | MWh/p
|  | 623 |  | MWh/p
|  | 624 |  | MWh/p
|  | 625 |  | MWh/p
|  | 626 |  | MWh/p
|  | 627 |  | MWh/p
|  | 628 |  | MWh/p
|  | 629 |  | MWh/p
|  | 630 |  | MWh/p
|  | 631 |  | MWh/p
|  | 632 |  | MWh/p
|  | 633 |  | MWh/p
|  | 634 |  | MWh/p
|  | 635 |  | MWh/p
|  | 636 |  | MWh/p
|  | 637 |  | MWh/p
|  | 638 |  | MWh/p
|  | 639 |  | MWh/p
|  | 640 |  | MWh/p
|  | 641 |  | MWh/p
|  | 642 |  | MWh/p
|  | 643 |  | MWh/p
|  | 644 |  | MWh/p
|  | 645 |  | MWh/p
|  | 646 |  | MWh/p
|  | 647 |  | MWh/p
|  | 648 |  | MWh/p
|  | 649 |  | MWh/p
|  | 650 |  | MWh/p
|  | 651 |  | MWh/p
|  | 652 |  | MWh/p
|  | 653 |  | MWh/p
|  | 654 |  | MWh/p
|  | 655 |  | MWh/p
|  | 656 |  | MWh/p
|  | 657 |  | MWh/p
|  | 658 |  | MWh/p
|  | 659 |  | MWh/p
|  | 660 |  | MWh/p
|  | 661 |  | MWh/p
|  | 662 |  | MWh/p
|  | 663 |  | MWh/p
|  | 664 |  | MWh/p
|  | 665 |  | MWh/p
|  | 666 |  | MWh/p
|  | 667 |  | MWh/p
|  | 668 |  | MWh/p
|  | 669 |  | MWh/p
|  | 670 |  | MWh/p
|  | 671 |  | MWh/p
|  | 672 |  | MWh/p
|  | 673 |  | MWh/p
|  | 674 |  | MWh/p
|  | 675 |  | MWh/p
|  | 676 |  | MWh/p
|  | 677 |  | MWh/p
|  | 678 |  | MWh/p
|  | 679 |  | MWh/p
|  | 680 |  | MWh/p
|  | 681 |  | MWh/p
|  | 682 |  | MWh/p
|  | 683 |  | MWh/p
|  | 684 |  | MWh/p
|  | 685 |  | MWh/p
|  | 686 |  | MWh/p
|  | 687 |  | MWh/p
|  | 688 |  | MWh/p
|  | 689 |  | MWh/p
|  | 690 |  | MWh/p
|  | 691 |  | MWh/p
|  | 692 |  | MWh/p
|  | 693 |  | MWh/p
|  | 694 |  | MWh/p
|  | 695 |  | MWh/p
|  | 696 |  | MWh/p
|  | 697 |  | MWh/p
|  | 698 |  | MWh/p
|  | 699 |  | MWh/p
|  | 700 |  | MWh/p
|  | 701 |  | MWh/p
|  | 702 |  | MWh/p
|  | 703 |  | MWh/p
|  | 704 |  | MWh/p
|  | 705 |  | MWh/p
|  | 706 |  | MWh/p
|  | 707 |  | MWh/p
|  | 708 |  | MWh/p
|  | 709 |  | MWh/p
|  | 710 |  | MWh/p
|  | 711 |  | MWh/p
|  | 712 |  | MWh/p
|  | 713 |  | MWh/p
|  | 714 |  | MWh/p
|  | 715 |  | MWh/p
|  | 716 |  | MWh/p
|  | 717 |  | MWh/p
|  | 718 |  | MWh/p
|  | 719 |  | MWh/p
|  | 720 |  | MWh/p
|  | 721 |  | MWh/p
|  | 722 |  | MWh/p
|  | 723 |  | MWh/p
|  | 724 |  | MWh/p
|  | 725 |  | MWh/p
|  | 726 |  | MWh/p
|  | 727 |  | MWh/p
|  | 728 |  | MWh/p
|  | 729 |  | MWh/p
|  | 730 |  | MWh/p
|  | 731 |  | MWh/p
|  | 732 |  | MWh/p
|  | 733 |  | MWh/p
|  | 734 |  | MWh/p
|  | 735 |  | MWh/p
|  | 736 |  | MWh/p
|  | 737 |  | MWh/p
|  | 738 |  | MWh/p
|  | 739 |  | MWh/p
|  | 740 |  | MWh/p
|  | 741 |  | MWh/p
|  | 742 |  | MWh/p
|  | 743 |  | MWh/p
|  | 744 |  | MWh/p
|  | 745 |  | MWh/p
|  | 746 |  | MWh/p
|  | 747 |  | MWh/p
|  | 748 |  | MWh/p
|  | 749 |  | MWh/p
|  | 750 |  | MWh/p
|  | 751 |  | MWh/p
|  | 752 |  | MWh/p
|  | 753 |  | MWh/p
|  | 754 |  | MWh/p
|  | 755 |  | MWh/p
|  | 756 |  | MWh/p
|  | 757 |  | MWh/p
|  | 758 |  | MWh/p
|  | 759 |  | MWh/p
|  | 760 |  | MWh/p
|  | 761 |  | MWh/p
|  | 762 |  | MWh/p
|  | 763 |  | MWh/p
|  | 764 |  | MWh/p
|  | 765 |  | MWh/p
|  | 766 |  | MWh/p
|  | 767 |  | MWh/p
|  | 768 |  | MWh/p
|  | 769 |  | MWh/p
|  | 770 |  | MWh/p
|  | 771 |  | MWh/p
|  | 772 |  | MWh/p
|  | 773 |  | MWh/p
|  | 774 |  | MWh/p
|  | 775 |  | MWh/p
|  | 776 |  | MWh/p
|  | 777 |  | MWh/p
|  | 778 |  | MWh/p
|  | 779 |  | MWh/p
|  | 780 |  | MWh/p
|  | 781 |  | MWh/p
|  | 782 |  | MWh/p
|  | 783 |  | MWh/p
|  | 784 |  | MWh/p
|  | 785 |  | MWh/p
|  | 786 |  | MWh/p
|  | 787 |  | MWh/p
|  | 788 |  | MWh/p
|  | 789 |  | MWh/p
|  | 790 |  | MWh/p
|  | 791 |  | MWh/p
|  | 792 |  | MWh/p
|  | 793 |  | MWh/p
|  | 794 |  | MWh/p
|  | 795 |  | MWh/p
|  | 796 |  | MWh/p
|  | 797 |  | MWh/p
|  | 798 |  | MWh/p
|  | 799 |  | MWh/p
|  | 800 |  | MWh/p
|  | 801 |  | MWh/p
|  | 802 |  | MWh/p
|  | 803 |  | MWh/p
|  | 804 |  | MWh/p
|  | 805 |  | MWh/p
|  | 806 |  | MWh/p
|  | 807 |  | MWh/p
|  | 808 |  | MWh/p
|  | 809 |  | MWh/p
|  | 810 |  | MWh/p
|  | 811 |  | MWh/p
|  | 812 |  | MWh/p
|  | 813 |  | MWh/p
|  | 814 |  | MWh/p
|  | 815 |  | MWh/p
|  | 816 |  | MWh/p
|  | 817 |  | MWh/p
|  | 818 |  | MWh/p
|  | 819 |  | MWh/p
|  | 820 |  | MWh/p
|  | 821 |  | MWh/p
|  | 822 |  | MWh/p
|  | 823 |  | MWh/p
|  | 824 |  | MWh/p
|  | 825 |  | MWh/p
|  | 826 |  | MWh/p
|  | 827 |  | MWh/p
|  | 828 |  | MWh/p
|  | 829 |  | MWh/p
|  | 830 |  | MWh/p
|  | 831 |  | MWh/p
|  | 832 |  | MWh/p
|  | 833 |  | MWh/p
|  | 834 |  | MWh/p
|  | 835 |  | MWh/p
|  | 836 |  | MWh/p
|  | 837 |  | MWh/p
|  | 838 |  | MWh/p
|  | 839 |  | MWh/p
|  | 840 |  | MWh/p
|  | 841 |  | MWh/p
|  | 842 |  | MWh/p
|  | 843 |  | MWh/p
|  | 844 |  | MWh/p
|  | 845 |  | MWh/p
|  | 846 |  | MWh/p
|  | 847 |  | MWh/p
|  | 848 |  | MWh/p
|  | 849 |  | MWh/p
|  | 850 |  | MWh/p
|  | 851 |  | MWh/p
|  | 852 |  | MWh/p
|  | 853 |  | MWh/p
|  | 854 |  | MWh/p
|  | 855 |  | MWh/p
|  | 856 |  | MWh/p
|  | 857 |  | MWh/p
|  | 858 |  | MWh/p
|  | 859 |  | MWh/p
|  | 860 |  | MWh/p
|  | 861 |  | MWh/p
|  | 862 |  | MWh/p
|  | 863 |  | MWh/p
|  | 864 |  | MWh/p
|  | 865 |  | MWh/p
|  | 866 |  | MWh/p
|  | 867 |  | MWh/p
|  | 868 |  | MWh/p
|  | 869 |  | MWh/p
|  | 870 |  | MWh/p
|  | 871 |  | MWh/p
|  | 872 |  | MWh/p
|  | 873 |  | MWh/p
|  | 874 |  | MWh/p
|  | 875 |  | MWh/p
|  | 876 |  | MWh/p
|  | 877 |  | MWh/p
|  | 878 |  | MWh/p
|  | 879 |  | MWh/p
|  | 880 |  | MWh/p
|  | 881 |  | MWh/p
|  | 882 |  | MWh/p
|  | 883 |  | MWh/p
|  | 884 |  | MWh/p
|  | 885 |  | MWh/p
|  | 886 |  | MWh/p
|  | 887 |  | MWh/p
|  | 888 |  | MWh/p
|  | 889 |  | MWh/p
|  | 890 |  | MWh/p
|  | 891 |  | MWh/p
|  | 892 |  | MWh/p
|  | 893 |  | MWh/p
|  | 894 |  | MWh/p
|  | 895 |  | MWh/p
|  | 896 |  | MWh/p
|  | 897 |  | MWh/p
|  | 898 |  | MWh/p
|  | 899 |  | MWh/p
|  | 900 |  | MWh/p
|  | 901 |  | MWh/p
|  | 902 |  | MWh/p
|  | 903 |  | MWh/p
|  | 904 |  | MWh/p
|  | 905 |  | MWh/p
|  | 906 |  | MWh/p
|  | 907 |  | MWh/p
|  | 908 |  | MWh/p
|  | 909 |  | MWh/p
|  | 910 |  | MWh/p
|  | 911 |  | MWh/p
|  | 912 |  | MWh/p
|  | 913 |  | MWh/p
|  | 914 |  | MWh/p
|  | 915 |  | MWh/p
|  | 916 |  | MWh/p
|  | 917 |  | MWh/p
|  | 918 |  | MWh/p
|  | 919 |  | MWh/p
|  | 920 |  | MWh/p
|  | 921 |  | MWh/p
|  | 922 |  | MWh/p
|  | 923 |  | MWh/p
|  | 924 |  | MWh/p
|  | 925 |  | MWh/p
|  | 926 |  | MWh/p
|  | 927 |  | MWh/p
|  | 928 |  | MWh/p
|  | 929 |  | MWh/p
|  | 930 |  | MWh/p
|  | 931 |  | MWh/p
|  | 932 |  | MWh/p
|  | 933 |  | MWh/p
|  | 934 |  | MWh/p
|  | 935 |  | MWh/p
|  | 936 |  | MWh/p
|  | 937 |  | MWh/p
|  | 938 |  | MWh/p
|  | 939 |  | MWh/p
|  | 940 |  | MWh/p
|  | 941 |  | MWh/p
|  | 942 |  | MWh/p
|  | 943 |  | MWh/p
|  | 944 |  | MWh/p
|  | 945 |  | MWh/p
|  | 946 |  | MWh/p
|  | 947 |  | MWh/p
|  | 948 |  | MWh/p
|  | 949 |  | MWh/p
|  | 950 |  | MWh/p
|  | 951 |  | MWh/p
|  | 952 |  | MWh/p
|  | 953 |  | MWh/p
|  | 954 |  | MWh/p
|  | 955 |  | MWh/p
|  | 956 |  | MWh/p
|  | 957 |  | MWh/p
|  | 958 |  | MWh/p
|  | 959 |  | MWh/p
|  | 960 |  | MWh/p
|  | 961 |  | MWh/p
|  | 962 |  | MWh/p
|  | 963 |  | MWh/p
|  | 964 |  | MWh/p
|  | 965 |  | MWh/p
|  | 966 |  | MWh/p
|  | 967 |  | MWh/p
|  | 968 |  | MWh/p
|  | 969 |  | MWh/p
|  | 970 |  | MWh/p
|  | 971 |  | MWh/p
|  | 972 |  | MWh/p
|  | 973 |  | MWh/p
|  | 974 |  | MWh/p
|  | 975 |  | MWh/p
|  | 976 |  | MWh/p
|  | 977 |  | MWh/p
|  | 978 |  | MWh/p
|  | 979 |  | MWh/p
|  | 980 |  | MWh/p
|  | 981 |  | MWh/p
|  | 982 |  | MWh/p
|  | 983 |  | MWh/p
|  | 984 |  | MWh/p
|  | 985 |  | MWh/p
|  | 986 |  | MWh/p
|  | 987 |  | MWh/p
|  | 988 |  | MWh/p
|  | 989 |  | MWh/p
|  | 990 |  | MWh/p
|  | 991 |  | MWh/p
|  | 992 |  | MWh/p
|  | 993 |  | MWh/p
|  | 994 |  | MWh/p
|  | 995 |  | MWh/p
|  | 996 |  | MWh/p
|  | 997 |  | MWh/p
|  | 998 |  | MWh/p
|  | 999 |  | MWh/p
|  | 1000 |  | MWh/p
| Total |  | 0

## MPS(calc_process)
Monitoring Spreadsheet: JCM_VN_AM015_ver01.0
Reference Number:
Monitoring Plan Sheet (Calculation Process Sheet) [Attachment to Project Design Document]
1. Calculations for emission reductions |  |  | Fuel type | Value | Units | Parameter
| Emission reductions during the period p |  |  | 0 | tCO2/p | ERp
2. Selected default values, etc.
| Project energy saving factor |  |  | 0 | - | η
3. Calculations for reference emissions
| Reference emissions during the period p |  |  | 0 | tCO2/p | REp
|  | Total electricity consumption of compressor of outdoor unit in project split type air conditioner(s) i which is installed compressor control system(s) during the period p | Electricity | 0 | MWh/p | ΣECPJ,i,p
|  | CO2 emission factor of consumed electricity | Mixed | 0 | tCO2/MWh | EFelec
|  | Project energy saving factor | N/A | 0 | - | η
4. Calculations of the project emissions
| Project emissions during the period p |  |  | 0 | tCO2/p | PEp
|  | Total electricity consumption of compressor of outdoor unit in project split type air conditioner(s) i which is installed compressor control system(s) during the period p | Electricity | 0 | MWh/p | ΣECPJ,i,p
|  | CO2 emission factor of consumed electricity | Mixed | 0 | tCO2/MWh | EFelec

## MSS
Monitoring Spreadsheet: JCM_VN_AM015_ver01.0
Reference Number:
Monitoring Structure Sheet [Attachment to Project Design Document]
| Responsible personnel | Role

## MRS(input)
Monitoring Spreadsheet: JCM_VN_AM015_ver01.0
Reference Number:
Monitoring Report Sheet (Input Sheet) [For Verification]
Table 1: Parameters monitored ex post
| (a) | (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i) | (j)
| Monitoring period | Monitoring point No. | Parameters | Description of data | Monitored Values | Units | Monitoring option | Source of data | Measurement methods and procedures | Monitoring frequency | Other comments
|  | 1 | ECPJ,i,p | Electricity consumption of compressor of outdoor unit in project split type air conditioner(s) i which is installed compressor control system(s) during the period p | 0 | MWh/p | Option C | Monitored data | Data is measured by measuring equipment. The measuring equipment is replaced or calibrated at an interval following the regulations in the country in which the measuring equipment is commonly used or according to the manufacturer’s recommendation, unless a type approval, manufacturer’s specification, or certification issued by an entity accredited under international/national standards for the measuring equipment has been prepared by the time of installation. | Continuously | Monitored values are input on "MRS(input_separate)" sheet
Table 2: Project-specific parameters fixed ex ante
| (a) |  | (b) |  | (c) | (d) | (e) |  |  | (f)
| Parameters |  | Description of data |  | Estimated Values | Units | Source of data |  |  | Other comments
| η |  | Project energy saving factor |  | 0 | - | Determined by following stepwise procedures as in Section F1 "Establishment of reference emissions" of the methodology |  |  | N/A
| EFelec |  | CO2 emission factor of consumed electricity |  | 0 | tCO2/MWh | [Grid electricity] Ministry of Natural Resources and Environment of Vietnam (MONRE), Vietnamese DNA for CDM unless otherwise instructed by the Joint Committee. [Captive electricity] For the option a) Specification of the captive power generation system provided by the manufacturer (ηelec,CG [%]). CO2 emission factor of the fossil fuel type used in the captive power generation system (EFfuel,CG [tCO2/GJ]) For the option b) Generated and supplied electricity by the captive power generation system (EGPJ,CG,p [MWh/p]). Fuel amount consumed by the captive power generation system (FCPJ,CG,p [mass or volume/p]). Net calorific value (NCVfuel,CG [GJ/mass or volume]) and CO2 emission factor (EFfuel,CG [tCO2/GJ]) of the fuel consumed by the captive power generation system in order of preference: 1) values provided by the fuel supplier; 2) measurement by the project participants; 3) regional or national default values; 4) IPCC default values provided in tables 1.2 and 1.4 of Ch.1 Vol.2 of 2006 IPCC Guidelines on National GHG Inventories. Lower value is applied. [Captive electricity with diesel fuel] CDM approved small scale methodology: AMS-I.A. [Captive electricity with natural gas] 2006 IPCC Guidelines on National GHG Inventories for the source of EF of natural gas. CDM Methodological tool "Determining the baseline efficiency of thermal or electric energy generation systems version02.0" for the default efficiency for off-grid power plants. |  |  | N/A
Table3: Ex-post calculation of CO2 emission reductions
| Monitoring period | CO2 emission reductions |  | Units
|  | 0 |  | tCO2/p
[Monitoring option]
| Option A | Based on public data which is measured by entities other than the project participants (Data used: publicly recognized data such as statistical data and specifications)
| Option B | Based on the amount of transaction which is measured directly using measuring equipments (Data used: commercial evidence such as invoices)
| Option C | Based on the actual measurement using measuring equipments (Data used: measured values)

## MRS(input_separate)
Monitoring Spreadsheet: JCM_VN_AM015_ver01.0
Reference Number:
Monitoring Report Sheet (Input_separate Sheet) [For Verification]
Table 1: Parameters to be monitored ex post | Parameters monitored ex post
| Parameter | i | ECPJ,i,p | -
| Description of data | An index variable | Electricity consumption of compressor of outdoor unit in project split type air conditioner(s) i which is installed compressor control system(s) during the period p | Units
| Monitored Values | 1 |  | MWh/p
|  | 2 |  | MWh/p
|  | 3 |  | MWh/p
|  | 4 |  | MWh/p
|  | 5 |  | MWh/p
|  | 6 |  | MWh/p
|  | 7 |  | MWh/p
|  | 8 |  | MWh/p
|  | 9 |  | MWh/p
|  | 10 |  | MWh/p
|  | 11 |  | MWh/p
|  | 12 |  | MWh/p
|  | 13 |  | MWh/p
|  | 14 |  | MWh/p
|  | 15 |  | MWh/p
|  | 16 |  | MWh/p
|  | 17 |  | MWh/p
|  | 18 |  | MWh/p
|  | 19 |  | MWh/p
|  | 20 |  | MWh/p
|  | 21 |  | MWh/p
|  | 22 |  | MWh/p
|  | 23 |  | MWh/p
|  | 24 |  | MWh/p
|  | 25 |  | MWh/p
|  | 26 |  | MWh/p
|  | 27 |  | MWh/p
|  | 28 |  | MWh/p
|  | 29 |  | MWh/p
|  | 30 |  | MWh/p
|  | 31 |  | MWh/p
|  | 32 |  | MWh/p
|  | 33 |  | MWh/p
|  | 34 |  | MWh/p
|  | 35 |  | MWh/p
|  | 36 |  | MWh/p
|  | 37 |  | MWh/p
|  | 38 |  | MWh/p
|  | 39 |  | MWh/p
|  | 40 |  | MWh/p
|  | 41 |  | MWh/p
|  | 42 |  | MWh/p
|  | 43 |  | MWh/p
|  | 44 |  | MWh/p
|  | 45 |  | MWh/p
|  | 46 |  | MWh/p
|  | 47 |  | MWh/p
|  | 48 |  | MWh/p
|  | 49 |  | MWh/p
|  | 50 |  | MWh/p
|  | 51 |  | MWh/p
|  | 52 |  | MWh/p
|  | 53 |  | MWh/p
|  | 54 |  | MWh/p
|  | 55 |  | MWh/p
|  | 56 |  | MWh/p
|  | 57 |  | MWh/p
|  | 58 |  | MWh/p
|  | 59 |  | MWh/p
|  | 60 |  | MWh/p
|  | 61 |  | MWh/p
|  | 62 |  | MWh/p
|  | 63 |  | MWh/p
|  | 64 |  | MWh/p
|  | 65 |  | MWh/p
|  | 66 |  | MWh/p
|  | 67 |  | MWh/p
|  | 68 |  | MWh/p
|  | 69 |  | MWh/p
|  | 70 |  | MWh/p
|  | 71 |  | MWh/p
|  | 72 |  | MWh/p
|  | 73 |  | MWh/p
|  | 74 |  | MWh/p
|  | 75 |  | MWh/p
|  | 76 |  | MWh/p
|  | 77 |  | MWh/p
|  | 78 |  | MWh/p
|  | 79 |  | MWh/p
|  | 80 |  | MWh/p
|  | 81 |  | MWh/p
|  | 82 |  | MWh/p
|  | 83 |  | MWh/p
|  | 84 |  | MWh/p
|  | 85 |  | MWh/p
|  | 86 |  | MWh/p
|  | 87 |  | MWh/p
|  | 88 |  | MWh/p
|  | 89 |  | MWh/p
|  | 90 |  | MWh/p
|  | 91 |  | MWh/p
|  | 92 |  | MWh/p
|  | 93 |  | MWh/p
|  | 94 |  | MWh/p
|  | 95 |  | MWh/p
|  | 96 |  | MWh/p
|  | 97 |  | MWh/p
|  | 98 |  | MWh/p
|  | 99 |  | MWh/p
|  | 100 |  | MWh/p
|  | 101 |  | MWh/p
|  | 102 |  | MWh/p
|  | 103 |  | MWh/p
|  | 104 |  | MWh/p
|  | 105 |  | MWh/p
|  | 106 |  | MWh/p
|  | 107 |  | MWh/p
|  | 108 |  | MWh/p
|  | 109 |  | MWh/p
|  | 110 |  | MWh/p
|  | 111 |  | MWh/p
|  | 112 |  | MWh/p
|  | 113 |  | MWh/p
|  | 114 |  | MWh/p
|  | 115 |  | MWh/p
|  | 116 |  | MWh/p
|  | 117 |  | MWh/p
|  | 118 |  | MWh/p
|  | 119 |  | MWh/p
|  | 120 |  | MWh/p
|  | 121 |  | MWh/p
|  | 122 |  | MWh/p
|  | 123 |  | MWh/p
|  | 124 |  | MWh/p
|  | 125 |  | MWh/p
|  | 126 |  | MWh/p
|  | 127 |  | MWh/p
|  | 128 |  | MWh/p
|  | 129 |  | MWh/p
|  | 130 |  | MWh/p
|  | 131 |  | MWh/p
|  | 132 |  | MWh/p
|  | 133 |  | MWh/p
|  | 134 |  | MWh/p
|  | 135 |  | MWh/p
|  | 136 |  | MWh/p
|  | 137 |  | MWh/p
|  | 138 |  | MWh/p
|  | 139 |  | MWh/p
|  | 140 |  | MWh/p
|  | 141 |  | MWh/p
|  | 142 |  | MWh/p
|  | 143 |  | MWh/p
|  | 144 |  | MWh/p
|  | 145 |  | MWh/p
|  | 146 |  | MWh/p
|  | 147 |  | MWh/p
|  | 148 |  | MWh/p
|  | 149 |  | MWh/p
|  | 150 |  | MWh/p
|  | 151 |  | MWh/p
|  | 152 |  | MWh/p
|  | 153 |  | MWh/p
|  | 154 |  | MWh/p
|  | 155 |  | MWh/p
|  | 156 |  | MWh/p
|  | 157 |  | MWh/p
|  | 158 |  | MWh/p
|  | 159 |  | MWh/p
|  | 160 |  | MWh/p
|  | 161 |  | MWh/p
|  | 162 |  | MWh/p
|  | 163 |  | MWh/p
|  | 164 |  | MWh/p
|  | 165 |  | MWh/p
|  | 166 |  | MWh/p
|  | 167 |  | MWh/p
|  | 168 |  | MWh/p
|  | 169 |  | MWh/p
|  | 170 |  | MWh/p
|  | 171 |  | MWh/p
|  | 172 |  | MWh/p
|  | 173 |  | MWh/p
|  | 174 |  | MWh/p
|  | 175 |  | MWh/p
|  | 176 |  | MWh/p
|  | 177 |  | MWh/p
|  | 178 |  | MWh/p
|  | 179 |  | MWh/p
|  | 180 |  | MWh/p
|  | 181 |  | MWh/p
|  | 182 |  | MWh/p
|  | 183 |  | MWh/p
|  | 184 |  | MWh/p
|  | 185 |  | MWh/p
|  | 186 |  | MWh/p
|  | 187 |  | MWh/p
|  | 188 |  | MWh/p
|  | 189 |  | MWh/p
|  | 190 |  | MWh/p
|  | 191 |  | MWh/p
|  | 192 |  | MWh/p
|  | 193 |  | MWh/p
|  | 194 |  | MWh/p
|  | 195 |  | MWh/p
|  | 196 |  | MWh/p
|  | 197 |  | MWh/p
|  | 198 |  | MWh/p
|  | 199 |  | MWh/p
|  | 200 |  | MWh/p
|  | 201 |  | MWh/p
|  | 202 |  | MWh/p
|  | 203 |  | MWh/p
|  | 204 |  | MWh/p
|  | 205 |  | MWh/p
|  | 206 |  | MWh/p
|  | 207 |  | MWh/p
|  | 208 |  | MWh/p
|  | 209 |  | MWh/p
|  | 210 |  | MWh/p
|  | 211 |  | MWh/p
|  | 212 |  | MWh/p
|  | 213 |  | MWh/p
|  | 214 |  | MWh/p
|  | 215 |  | MWh/p
|  | 216 |  | MWh/p
|  | 217 |  | MWh/p
|  | 218 |  | MWh/p
|  | 219 |  | MWh/p
|  | 220 |  | MWh/p
|  | 221 |  | MWh/p
|  | 222 |  | MWh/p
|  | 223 |  | MWh/p
|  | 224 |  | MWh/p
|  | 225 |  | MWh/p
|  | 226 |  | MWh/p
|  | 227 |  | MWh/p
|  | 228 |  | MWh/p
|  | 229 |  | MWh/p
|  | 230 |  | MWh/p
|  | 231 |  | MWh/p
|  | 232 |  | MWh/p
|  | 233 |  | MWh/p
|  | 234 |  | MWh/p
|  | 235 |  | MWh/p
|  | 236 |  | MWh/p
|  | 237 |  | MWh/p
|  | 238 |  | MWh/p
|  | 239 |  | MWh/p
|  | 240 |  | MWh/p
|  | 241 |  | MWh/p
|  | 242 |  | MWh/p
|  | 243 |  | MWh/p
|  | 244 |  | MWh/p
|  | 245 |  | MWh/p
|  | 246 |  | MWh/p
|  | 247 |  | MWh/p
|  | 248 |  | MWh/p
|  | 249 |  | MWh/p
|  | 250 |  | MWh/p
|  | 251 |  | MWh/p
|  | 252 |  | MWh/p
|  | 253 |  | MWh/p
|  | 254 |  | MWh/p
|  | 255 |  | MWh/p
|  | 256 |  | MWh/p
|  | 257 |  | MWh/p
|  | 258 |  | MWh/p
|  | 259 |  | MWh/p
|  | 260 |  | MWh/p
|  | 261 |  | MWh/p
|  | 262 |  | MWh/p
|  | 263 |  | MWh/p
|  | 264 |  | MWh/p
|  | 265 |  | MWh/p
|  | 266 |  | MWh/p
|  | 267 |  | MWh/p
|  | 268 |  | MWh/p
|  | 269 |  | MWh/p
|  | 270 |  | MWh/p
|  | 271 |  | MWh/p
|  | 272 |  | MWh/p
|  | 273 |  | MWh/p
|  | 274 |  | MWh/p
|  | 275 |  | MWh/p
|  | 276 |  | MWh/p
|  | 277 |  | MWh/p
|  | 278 |  | MWh/p
|  | 279 |  | MWh/p
|  | 280 |  | MWh/p
|  | 281 |  | MWh/p
|  | 282 |  | MWh/p
|  | 283 |  | MWh/p
|  | 284 |  | MWh/p
|  | 285 |  | MWh/p
|  | 286 |  | MWh/p
|  | 287 |  | MWh/p
|  | 288 |  | MWh/p
|  | 289 |  | MWh/p
|  | 290 |  | MWh/p
|  | 291 |  | MWh/p
|  | 292 |  | MWh/p
|  | 293 |  | MWh/p
|  | 294 |  | MWh/p
|  | 295 |  | MWh/p
|  | 296 |  | MWh/p
|  | 297 |  | MWh/p
|  | 298 |  | MWh/p
|  | 299 |  | MWh/p
|  | 300 |  | MWh/p
|  | 301 |  | MWh/p
|  | 302 |  | MWh/p
|  | 303 |  | MWh/p
|  | 304 |  | MWh/p
|  | 305 |  | MWh/p
|  | 306 |  | MWh/p
|  | 307 |  | MWh/p
|  | 308 |  | MWh/p
|  | 309 |  | MWh/p
|  | 310 |  | MWh/p
|  | 311 |  | MWh/p
|  | 312 |  | MWh/p
|  | 313 |  | MWh/p
|  | 314 |  | MWh/p
|  | 315 |  | MWh/p
|  | 316 |  | MWh/p
|  | 317 |  | MWh/p
|  | 318 |  | MWh/p
|  | 319 |  | MWh/p
|  | 320 |  | MWh/p
|  | 321 |  | MWh/p
|  | 322 |  | MWh/p
|  | 323 |  | MWh/p
|  | 324 |  | MWh/p
|  | 325 |  | MWh/p
|  | 326 |  | MWh/p
|  | 327 |  | MWh/p
|  | 328 |  | MWh/p
|  | 329 |  | MWh/p
|  | 330 |  | MWh/p
|  | 331 |  | MWh/p
|  | 332 |  | MWh/p
|  | 333 |  | MWh/p
|  | 334 |  | MWh/p
|  | 335 |  | MWh/p
|  | 336 |  | MWh/p
|  | 337 |  | MWh/p
|  | 338 |  | MWh/p
|  | 339 |  | MWh/p
|  | 340 |  | MWh/p
|  | 341 |  | MWh/p
|  | 342 |  | MWh/p
|  | 343 |  | MWh/p
|  | 344 |  | MWh/p
|  | 345 |  | MWh/p
|  | 346 |  | MWh/p
|  | 347 |  | MWh/p
|  | 348 |  | MWh/p
|  | 349 |  | MWh/p
|  | 350 |  | MWh/p
|  | 351 |  | MWh/p
|  | 352 |  | MWh/p
|  | 353 |  | MWh/p
|  | 354 |  | MWh/p
|  | 355 |  | MWh/p
|  | 356 |  | MWh/p
|  | 357 |  | MWh/p
|  | 358 |  | MWh/p
|  | 359 |  | MWh/p
|  | 360 |  | MWh/p
|  | 361 |  | MWh/p
|  | 362 |  | MWh/p
|  | 363 |  | MWh/p
|  | 364 |  | MWh/p
|  | 365 |  | MWh/p
|  | 366 |  | MWh/p
|  | 367 |  | MWh/p
|  | 368 |  | MWh/p
|  | 369 |  | MWh/p
|  | 370 |  | MWh/p
|  | 371 |  | MWh/p
|  | 372 |  | MWh/p
|  | 373 |  | MWh/p
|  | 374 |  | MWh/p
|  | 375 |  | MWh/p
|  | 376 |  | MWh/p
|  | 377 |  | MWh/p
|  | 378 |  | MWh/p
|  | 379 |  | MWh/p
|  | 380 |  | MWh/p
|  | 381 |  | MWh/p
|  | 382 |  | MWh/p
|  | 383 |  | MWh/p
|  | 384 |  | MWh/p
|  | 385 |  | MWh/p
|  | 386 |  | MWh/p
|  | 387 |  | MWh/p
|  | 388 |  | MWh/p
|  | 389 |  | MWh/p
|  | 390 |  | MWh/p
|  | 391 |  | MWh/p
|  | 392 |  | MWh/p
|  | 393 |  | MWh/p
|  | 394 |  | MWh/p
|  | 395 |  | MWh/p
|  | 396 |  | MWh/p
|  | 397 |  | MWh/p
|  | 398 |  | MWh/p
|  | 399 |  | MWh/p
|  | 400 |  | MWh/p
|  | 401 |  | MWh/p
|  | 402 |  | MWh/p
|  | 403 |  | MWh/p
|  | 404 |  | MWh/p
|  | 405 |  | MWh/p
|  | 406 |  | MWh/p
|  | 407 |  | MWh/p
|  | 408 |  | MWh/p
|  | 409 |  | MWh/p
|  | 410 |  | MWh/p
|  | 411 |  | MWh/p
|  | 412 |  | MWh/p
|  | 413 |  | MWh/p
|  | 414 |  | MWh/p
|  | 415 |  | MWh/p
|  | 416 |  | MWh/p
|  | 417 |  | MWh/p
|  | 418 |  | MWh/p
|  | 419 |  | MWh/p
|  | 420 |  | MWh/p
|  | 421 |  | MWh/p
|  | 422 |  | MWh/p
|  | 423 |  | MWh/p
|  | 424 |  | MWh/p
|  | 425 |  | MWh/p
|  | 426 |  | MWh/p
|  | 427 |  | MWh/p
|  | 428 |  | MWh/p
|  | 429 |  | MWh/p
|  | 430 |  | MWh/p
|  | 431 |  | MWh/p
|  | 432 |  | MWh/p
|  | 433 |  | MWh/p
|  | 434 |  | MWh/p
|  | 435 |  | MWh/p
|  | 436 |  | MWh/p
|  | 437 |  | MWh/p
|  | 438 |  | MWh/p
|  | 439 |  | MWh/p
|  | 440 |  | MWh/p
|  | 441 |  | MWh/p
|  | 442 |  | MWh/p
|  | 443 |  | MWh/p
|  | 444 |  | MWh/p
|  | 445 |  | MWh/p
|  | 446 |  | MWh/p
|  | 447 |  | MWh/p
|  | 448 |  | MWh/p
|  | 449 |  | MWh/p
|  | 450 |  | MWh/p
|  | 451 |  | MWh/p
|  | 452 |  | MWh/p
|  | 453 |  | MWh/p
|  | 454 |  | MWh/p
|  | 455 |  | MWh/p
|  | 456 |  | MWh/p
|  | 457 |  | MWh/p
|  | 458 |  | MWh/p
|  | 459 |  | MWh/p
|  | 460 |  | MWh/p
|  | 461 |  | MWh/p
|  | 462 |  | MWh/p
|  | 463 |  | MWh/p
|  | 464 |  | MWh/p
|  | 465 |  | MWh/p
|  | 466 |  | MWh/p
|  | 467 |  | MWh/p
|  | 468 |  | MWh/p
|  | 469 |  | MWh/p
|  | 470 |  | MWh/p
|  | 471 |  | MWh/p
|  | 472 |  | MWh/p
|  | 473 |  | MWh/p
|  | 474 |  | MWh/p
|  | 475 |  | MWh/p
|  | 476 |  | MWh/p
|  | 477 |  | MWh/p
|  | 478 |  | MWh/p
|  | 479 |  | MWh/p
|  | 480 |  | MWh/p
|  | 481 |  | MWh/p
|  | 482 |  | MWh/p
|  | 483 |  | MWh/p
|  | 484 |  | MWh/p
|  | 485 |  | MWh/p
|  | 486 |  | MWh/p
|  | 487 |  | MWh/p
|  | 488 |  | MWh/p
|  | 489 |  | MWh/p
|  | 490 |  | MWh/p
|  | 491 |  | MWh/p
|  | 492 |  | MWh/p
|  | 493 |  | MWh/p
|  | 494 |  | MWh/p
|  | 495 |  | MWh/p
|  | 496 |  | MWh/p
|  | 497 |  | MWh/p
|  | 498 |  | MWh/p
|  | 499 |  | MWh/p
|  | 500 |  | MWh/p
|  | 501 |  | MWh/p
|  | 502 |  | MWh/p
|  | 503 |  | MWh/p
|  | 504 |  | MWh/p
|  | 505 |  | MWh/p
|  | 506 |  | MWh/p
|  | 507 |  | MWh/p
|  | 508 |  | MWh/p
|  | 509 |  | MWh/p
|  | 510 |  | MWh/p
|  | 511 |  | MWh/p
|  | 512 |  | MWh/p
|  | 513 |  | MWh/p
|  | 514 |  | MWh/p
|  | 515 |  | MWh/p
|  | 516 |  | MWh/p
|  | 517 |  | MWh/p
|  | 518 |  | MWh/p
|  | 519 |  | MWh/p
|  | 520 |  | MWh/p
|  | 521 |  | MWh/p
|  | 522 |  | MWh/p
|  | 523 |  | MWh/p
|  | 524 |  | MWh/p
|  | 525 |  | MWh/p
|  | 526 |  | MWh/p
|  | 527 |  | MWh/p
|  | 528 |  | MWh/p
|  | 529 |  | MWh/p
|  | 530 |  | MWh/p
|  | 531 |  | MWh/p
|  | 532 |  | MWh/p
|  | 533 |  | MWh/p
|  | 534 |  | MWh/p
|  | 535 |  | MWh/p
|  | 536 |  | MWh/p
|  | 537 |  | MWh/p
|  | 538 |  | MWh/p
|  | 539 |  | MWh/p
|  | 540 |  | MWh/p
|  | 541 |  | MWh/p
|  | 542 |  | MWh/p
|  | 543 |  | MWh/p
|  | 544 |  | MWh/p
|  | 545 |  | MWh/p
|  | 546 |  | MWh/p
|  | 547 |  | MWh/p
|  | 548 |  | MWh/p
|  | 549 |  | MWh/p
|  | 550 |  | MWh/p
|  | 551 |  | MWh/p
|  | 552 |  | MWh/p
|  | 553 |  | MWh/p
|  | 554 |  | MWh/p
|  | 555 |  | MWh/p
|  | 556 |  | MWh/p
|  | 557 |  | MWh/p
|  | 558 |  | MWh/p
|  | 559 |  | MWh/p
|  | 560 |  | MWh/p
|  | 561 |  | MWh/p
|  | 562 |  | MWh/p
|  | 563 |  | MWh/p
|  | 564 |  | MWh/p
|  | 565 |  | MWh/p
|  | 566 |  | MWh/p
|  | 567 |  | MWh/p
|  | 568 |  | MWh/p
|  | 569 |  | MWh/p
|  | 570 |  | MWh/p
|  | 571 |  | MWh/p
|  | 572 |  | MWh/p
|  | 573 |  | MWh/p
|  | 574 |  | MWh/p
|  | 575 |  | MWh/p
|  | 576 |  | MWh/p
|  | 577 |  | MWh/p
|  | 578 |  | MWh/p
|  | 579 |  | MWh/p
|  | 580 |  | MWh/p
|  | 581 |  | MWh/p
|  | 582 |  | MWh/p
|  | 583 |  | MWh/p
|  | 584 |  | MWh/p
|  | 585 |  | MWh/p
|  | 586 |  | MWh/p
|  | 587 |  | MWh/p
|  | 588 |  | MWh/p
|  | 589 |  | MWh/p
|  | 590 |  | MWh/p
|  | 591 |  | MWh/p
|  | 592 |  | MWh/p
|  | 593 |  | MWh/p
|  | 594 |  | MWh/p
|  | 595 |  | MWh/p
|  | 596 |  | MWh/p
|  | 597 |  | MWh/p
|  | 598 |  | MWh/p
|  | 599 |  | MWh/p
|  | 600 |  | MWh/p
|  | 601 |  | MWh/p
|  | 602 |  | MWh/p
|  | 603 |  | MWh/p
|  | 604 |  | MWh/p
|  | 605 |  | MWh/p
|  | 606 |  | MWh/p
|  | 607 |  | MWh/p
|  | 608 |  | MWh/p
|  | 609 |  | MWh/p
|  | 610 |  | MWh/p
|  | 611 |  | MWh/p
|  | 612 |  | MWh/p
|  | 613 |  | MWh/p
|  | 614 |  | MWh/p
|  | 615 |  | MWh/p
|  | 616 |  | MWh/p
|  | 617 |  | MWh/p
|  | 618 |  | MWh/p
|  | 619 |  | MWh/p
|  | 620 |  | MWh/p
|  | 621 |  | MWh/p
|  | 622 |  | MWh/p
|  | 623 |  | MWh/p
|  | 624 |  | MWh/p
|  | 625 |  | MWh/p
|  | 626 |  | MWh/p
|  | 627 |  | MWh/p
|  | 628 |  | MWh/p
|  | 629 |  | MWh/p
|  | 630 |  | MWh/p
|  | 631 |  | MWh/p
|  | 632 |  | MWh/p
|  | 633 |  | MWh/p
|  | 634 |  | MWh/p
|  | 635 |  | MWh/p
|  | 636 |  | MWh/p
|  | 637 |  | MWh/p
|  | 638 |  | MWh/p
|  | 639 |  | MWh/p
|  | 640 |  | MWh/p
|  | 641 |  | MWh/p
|  | 642 |  | MWh/p
|  | 643 |  | MWh/p
|  | 644 |  | MWh/p
|  | 645 |  | MWh/p
|  | 646 |  | MWh/p
|  | 647 |  | MWh/p
|  | 648 |  | MWh/p
|  | 649 |  | MWh/p
|  | 650 |  | MWh/p
|  | 651 |  | MWh/p
|  | 652 |  | MWh/p
|  | 653 |  | MWh/p
|  | 654 |  | MWh/p
|  | 655 |  | MWh/p
|  | 656 |  | MWh/p
|  | 657 |  | MWh/p
|  | 658 |  | MWh/p
|  | 659 |  | MWh/p
|  | 660 |  | MWh/p
|  | 661 |  | MWh/p
|  | 662 |  | MWh/p
|  | 663 |  | MWh/p
|  | 664 |  | MWh/p
|  | 665 |  | MWh/p
|  | 666 |  | MWh/p
|  | 667 |  | MWh/p
|  | 668 |  | MWh/p
|  | 669 |  | MWh/p
|  | 670 |  | MWh/p
|  | 671 |  | MWh/p
|  | 672 |  | MWh/p
|  | 673 |  | MWh/p
|  | 674 |  | MWh/p
|  | 675 |  | MWh/p
|  | 676 |  | MWh/p
|  | 677 |  | MWh/p
|  | 678 |  | MWh/p
|  | 679 |  | MWh/p
|  | 680 |  | MWh/p
|  | 681 |  | MWh/p
|  | 682 |  | MWh/p
|  | 683 |  | MWh/p
|  | 684 |  | MWh/p
|  | 685 |  | MWh/p
|  | 686 |  | MWh/p
|  | 687 |  | MWh/p
|  | 688 |  | MWh/p
|  | 689 |  | MWh/p
|  | 690 |  | MWh/p
|  | 691 |  | MWh/p
|  | 692 |  | MWh/p
|  | 693 |  | MWh/p
|  | 694 |  | MWh/p
|  | 695 |  | MWh/p
|  | 696 |  | MWh/p
|  | 697 |  | MWh/p
|  | 698 |  | MWh/p
|  | 699 |  | MWh/p
|  | 700 |  | MWh/p
|  | 701 |  | MWh/p
|  | 702 |  | MWh/p
|  | 703 |  | MWh/p
|  | 704 |  | MWh/p
|  | 705 |  | MWh/p
|  | 706 |  | MWh/p
|  | 707 |  | MWh/p
|  | 708 |  | MWh/p
|  | 709 |  | MWh/p
|  | 710 |  | MWh/p
|  | 711 |  | MWh/p
|  | 712 |  | MWh/p
|  | 713 |  | MWh/p
|  | 714 |  | MWh/p
|  | 715 |  | MWh/p
|  | 716 |  | MWh/p
|  | 717 |  | MWh/p
|  | 718 |  | MWh/p
|  | 719 |  | MWh/p
|  | 720 |  | MWh/p
|  | 721 |  | MWh/p
|  | 722 |  | MWh/p
|  | 723 |  | MWh/p
|  | 724 |  | MWh/p
|  | 725 |  | MWh/p
|  | 726 |  | MWh/p
|  | 727 |  | MWh/p
|  | 728 |  | MWh/p
|  | 729 |  | MWh/p
|  | 730 |  | MWh/p
|  | 731 |  | MWh/p
|  | 732 |  | MWh/p
|  | 733 |  | MWh/p
|  | 734 |  | MWh/p
|  | 735 |  | MWh/p
|  | 736 |  | MWh/p
|  | 737 |  | MWh/p
|  | 738 |  | MWh/p
|  | 739 |  | MWh/p
|  | 740 |  | MWh/p
|  | 741 |  | MWh/p
|  | 742 |  | MWh/p
|  | 743 |  | MWh/p
|  | 744 |  | MWh/p
|  | 745 |  | MWh/p
|  | 746 |  | MWh/p
|  | 747 |  | MWh/p
|  | 748 |  | MWh/p
|  | 749 |  | MWh/p
|  | 750 |  | MWh/p
|  | 751 |  | MWh/p
|  | 752 |  | MWh/p
|  | 753 |  | MWh/p
|  | 754 |  | MWh/p
|  | 755 |  | MWh/p
|  | 756 |  | MWh/p
|  | 757 |  | MWh/p
|  | 758 |  | MWh/p
|  | 759 |  | MWh/p
|  | 760 |  | MWh/p
|  | 761 |  | MWh/p
|  | 762 |  | MWh/p
|  | 763 |  | MWh/p
|  | 764 |  | MWh/p
|  | 765 |  | MWh/p
|  | 766 |  | MWh/p
|  | 767 |  | MWh/p
|  | 768 |  | MWh/p
|  | 769 |  | MWh/p
|  | 770 |  | MWh/p
|  | 771 |  | MWh/p
|  | 772 |  | MWh/p
|  | 773 |  | MWh/p
|  | 774 |  | MWh/p
|  | 775 |  | MWh/p
|  | 776 |  | MWh/p
|  | 777 |  | MWh/p
|  | 778 |  | MWh/p
|  | 779 |  | MWh/p
|  | 780 |  | MWh/p
|  | 781 |  | MWh/p
|  | 782 |  | MWh/p
|  | 783 |  | MWh/p
|  | 784 |  | MWh/p
|  | 785 |  | MWh/p
|  | 786 |  | MWh/p
|  | 787 |  | MWh/p
|  | 788 |  | MWh/p
|  | 789 |  | MWh/p
|  | 790 |  | MWh/p
|  | 791 |  | MWh/p
|  | 792 |  | MWh/p
|  | 793 |  | MWh/p
|  | 794 |  | MWh/p
|  | 795 |  | MWh/p
|  | 796 |  | MWh/p
|  | 797 |  | MWh/p
|  | 798 |  | MWh/p
|  | 799 |  | MWh/p
|  | 800 |  | MWh/p
|  | 801 |  | MWh/p
|  | 802 |  | MWh/p
|  | 803 |  | MWh/p
|  | 804 |  | MWh/p
|  | 805 |  | MWh/p
|  | 806 |  | MWh/p
|  | 807 |  | MWh/p
|  | 808 |  | MWh/p
|  | 809 |  | MWh/p
|  | 810 |  | MWh/p
|  | 811 |  | MWh/p
|  | 812 |  | MWh/p
|  | 813 |  | MWh/p
|  | 814 |  | MWh/p
|  | 815 |  | MWh/p
|  | 816 |  | MWh/p
|  | 817 |  | MWh/p
|  | 818 |  | MWh/p
|  | 819 |  | MWh/p
|  | 820 |  | MWh/p
|  | 821 |  | MWh/p
|  | 822 |  | MWh/p
|  | 823 |  | MWh/p
|  | 824 |  | MWh/p
|  | 825 |  | MWh/p
|  | 826 |  | MWh/p
|  | 827 |  | MWh/p
|  | 828 |  | MWh/p
|  | 829 |  | MWh/p
|  | 830 |  | MWh/p
|  | 831 |  | MWh/p
|  | 832 |  | MWh/p
|  | 833 |  | MWh/p
|  | 834 |  | MWh/p
|  | 835 |  | MWh/p
|  | 836 |  | MWh/p
|  | 837 |  | MWh/p
|  | 838 |  | MWh/p
|  | 839 |  | MWh/p
|  | 840 |  | MWh/p
|  | 841 |  | MWh/p
|  | 842 |  | MWh/p
|  | 843 |  | MWh/p
|  | 844 |  | MWh/p
|  | 845 |  | MWh/p
|  | 846 |  | MWh/p
|  | 847 |  | MWh/p
|  | 848 |  | MWh/p
|  | 849 |  | MWh/p
|  | 850 |  | MWh/p
|  | 851 |  | MWh/p
|  | 852 |  | MWh/p
|  | 853 |  | MWh/p
|  | 854 |  | MWh/p
|  | 855 |  | MWh/p
|  | 856 |  | MWh/p
|  | 857 |  | MWh/p
|  | 858 |  | MWh/p
|  | 859 |  | MWh/p
|  | 860 |  | MWh/p
|  | 861 |  | MWh/p
|  | 862 |  | MWh/p
|  | 863 |  | MWh/p
|  | 864 |  | MWh/p
|  | 865 |  | MWh/p
|  | 866 |  | MWh/p
|  | 867 |  | MWh/p
|  | 868 |  | MWh/p
|  | 869 |  | MWh/p
|  | 870 |  | MWh/p
|  | 871 |  | MWh/p
|  | 872 |  | MWh/p
|  | 873 |  | MWh/p
|  | 874 |  | MWh/p
|  | 875 |  | MWh/p
|  | 876 |  | MWh/p
|  | 877 |  | MWh/p
|  | 878 |  | MWh/p
|  | 879 |  | MWh/p
|  | 880 |  | MWh/p
|  | 881 |  | MWh/p
|  | 882 |  | MWh/p
|  | 883 |  | MWh/p
|  | 884 |  | MWh/p
|  | 885 |  | MWh/p
|  | 886 |  | MWh/p
|  | 887 |  | MWh/p
|  | 888 |  | MWh/p
|  | 889 |  | MWh/p
|  | 890 |  | MWh/p
|  | 891 |  | MWh/p
|  | 892 |  | MWh/p
|  | 893 |  | MWh/p
|  | 894 |  | MWh/p
|  | 895 |  | MWh/p
|  | 896 |  | MWh/p
|  | 897 |  | MWh/p
|  | 898 |  | MWh/p
|  | 899 |  | MWh/p
|  | 900 |  | MWh/p
|  | 901 |  | MWh/p
|  | 902 |  | MWh/p
|  | 903 |  | MWh/p
|  | 904 |  | MWh/p
|  | 905 |  | MWh/p
|  | 906 |  | MWh/p
|  | 907 |  | MWh/p
|  | 908 |  | MWh/p
|  | 909 |  | MWh/p
|  | 910 |  | MWh/p
|  | 911 |  | MWh/p
|  | 912 |  | MWh/p
|  | 913 |  | MWh/p
|  | 914 |  | MWh/p
|  | 915 |  | MWh/p
|  | 916 |  | MWh/p
|  | 917 |  | MWh/p
|  | 918 |  | MWh/p
|  | 919 |  | MWh/p
|  | 920 |  | MWh/p
|  | 921 |  | MWh/p
|  | 922 |  | MWh/p
|  | 923 |  | MWh/p
|  | 924 |  | MWh/p
|  | 925 |  | MWh/p
|  | 926 |  | MWh/p
|  | 927 |  | MWh/p
|  | 928 |  | MWh/p
|  | 929 |  | MWh/p
|  | 930 |  | MWh/p
|  | 931 |  | MWh/p
|  | 932 |  | MWh/p
|  | 933 |  | MWh/p
|  | 934 |  | MWh/p
|  | 935 |  | MWh/p
|  | 936 |  | MWh/p
|  | 937 |  | MWh/p
|  | 938 |  | MWh/p
|  | 939 |  | MWh/p
|  | 940 |  | MWh/p
|  | 941 |  | MWh/p
|  | 942 |  | MWh/p
|  | 943 |  | MWh/p
|  | 944 |  | MWh/p
|  | 945 |  | MWh/p
|  | 946 |  | MWh/p
|  | 947 |  | MWh/p
|  | 948 |  | MWh/p
|  | 949 |  | MWh/p
|  | 950 |  | MWh/p
|  | 951 |  | MWh/p
|  | 952 |  | MWh/p
|  | 953 |  | MWh/p
|  | 954 |  | MWh/p
|  | 955 |  | MWh/p
|  | 956 |  | MWh/p
|  | 957 |  | MWh/p
|  | 958 |  | MWh/p
|  | 959 |  | MWh/p
|  | 960 |  | MWh/p
|  | 961 |  | MWh/p
|  | 962 |  | MWh/p
|  | 963 |  | MWh/p
|  | 964 |  | MWh/p
|  | 965 |  | MWh/p
|  | 966 |  | MWh/p
|  | 967 |  | MWh/p
|  | 968 |  | MWh/p
|  | 969 |  | MWh/p
|  | 970 |  | MWh/p
|  | 971 |  | MWh/p
|  | 972 |  | MWh/p
|  | 973 |  | MWh/p
|  | 974 |  | MWh/p
|  | 975 |  | MWh/p
|  | 976 |  | MWh/p
|  | 977 |  | MWh/p
|  | 978 |  | MWh/p
|  | 979 |  | MWh/p
|  | 980 |  | MWh/p
|  | 981 |  | MWh/p
|  | 982 |  | MWh/p
|  | 983 |  | MWh/p
|  | 984 |  | MWh/p
|  | 985 |  | MWh/p
|  | 986 |  | MWh/p
|  | 987 |  | MWh/p
|  | 988 |  | MWh/p
|  | 989 |  | MWh/p
|  | 990 |  | MWh/p
|  | 991 |  | MWh/p
|  | 992 |  | MWh/p
|  | 993 |  | MWh/p
|  | 994 |  | MWh/p
|  | 995 |  | MWh/p
|  | 996 |  | MWh/p
|  | 997 |  | MWh/p
|  | 998 |  | MWh/p
|  | 999 |  | MWh/p
|  | 1000 |  | MWh/p
| Total |  | 0

## MRS(calc_process)
Monitoring Spreadsheet: JCM_VN_AM015_ver01.0
Reference Number:
Monitoring Report Sheet (Calculation Process Sheet) [For Verification]
1. Calculations for emission reductions |  |  | Fuel type | Value | Units | Parameter
| Emission reductions during the period p |  |  | 0 | tCO2/p | ERp
2. Selected default values, etc.
| Project energy saving factor |  |  | 0 | - | η
3. Calculations for reference emissions
| Reference emissions during the period p |  |  | 0 | tCO2/p | REp
|  | Total electricity consumption of compressor of outdoor unit in project split type air conditioner(s) i which is installed compressor control system(s) during the period p | Electricity | 0 | MWh/p | ΣECPJ,i,p
|  | CO2 emission factor of consumed electricity | Mixed | 0 | tCO2/MWh | EFelec
|  | Project energy saving factor | N/A | 0 | - | η
4. Calculations of the project emissions
| Project emissions during the period p |  |  | 0 | tCO2/p | PEp
|  | Total electricity consumption of compressor of outdoor unit in project split type air conditioner(s) i which is installed compressor control system(s) during the period p | Electricity | 0 | MWh/p | ΣECPJ,i,p
|  | CO2 emission factor of consumed electricity | Mixed | 0 | tCO2/MWh | EFelec