## PMS(input)
JCM_VN_F_PMS_ver01.0
JCM Proposed Methodology Spreadsheet Form (input sheet) [Attachment to Proposed Methodology Form]
Table 1: Parameters to be monitored ex post
| (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i) | (j)
| Monitoring point No. | Parameters | Description of data | Estimated Values | Units | Monitoring option | Source of data | Measurement methods and procedures | Monitoring frequency | Other comments
| N.A. | Hi,p | Energizing time of the project transformer i during the period p | - | hour/p | Option C | On-site measurements. | Counting the number of hours of this monitoring period | Once at the end of this monitoring period | Monitored values are input on "PMS(input_separate)" sheet
Table 2: Project-specific parameters to be fixed ex ante
| (a) | (b) |  | (c) | (d) | (e) |  |  | (f)
| Parameters | Description of data |  | Estimated Values | Units | Source of data |  |  | Other comments
| NLLRE,i,j,k | No-load losses of the reference transformer i of capacity category k for the power company j |  | - | W | The latest standard for no-load loss required by the power companies, or the specification value of no-load losses set by the power companies |  |  | Values are input on "PMS(input_separate)" sheet
| NLLPJ,i,j,k | No-load losses of the project transformer i of capacity category k for the power company j |  | - | W | Manufacturer’s performance test report measured at the time of pre-delivery inspection |  |  | Values are input on "PMS(input_separate)" sheet
| Brp | Blackout rate during the period p |  | 0.0187 | fraction | Data obtained from power companies
| UNCi | Maximum allowable uncertainty for the no-load losses of the project transformer i |  | - | fractoin | Manufacturer’s performance test report measured at the time of pre-delivery inspection |  |  | Values are input on "PMS(input_separate)" sheet
| EFgrid | CO2 emission factor of the grid |  | 0.749 | tCO2/MWh | Ministry of Natural Resources and Environment (MONRE), Vietnamese DNA for CDM unless otherwise instructed by the Joint Committee
Table3: Ex-ante estimation of CO2 emission reductions
| CO2 emission reductions |  | Units
| 75 |  | tCO2/p
[Monitoring option]
| Option A | Based on public data which is measured by entities other than the project participants (Data used: publicly recognized data such as statistical data and specifications)
| Option B | Based on the amount of transaction which is measured directly using measuring equipments (Data used: commercial evidence such as invoices)
| Option C | Based on the actual measurement using measuring equipments (Data used: measured values)

## PMS(input_separate)
JCM_VN_F_PMS_ver01.0
|  |  |  | Parameters to be monitored ex post | Project-specific parameters to be fixed ex ante |  |  |  |  | Ex-ante estimation of emissions
Parameters | i | k | j | Hi,p | NLLRE,i,j,k | NLLPJ,i,j,k | Brp | UNCi | EFgrid | REi,p | PEi,p | ERi,p
Description of data | Identification number of the project transformer | Index which represents type of the project transformer | Identification number of the power company where the transformer i is installed | Energizing time of the project transformer i during the period p | No-load losses of the reference transformer i of capacity category k for the power company j | No-load losses of the project transformer i of capacity category k for the power company j | Blackout rate during the period p | Maximum allowable uncertainty for the no-load losses of the project transformer i | CO2 emission factor of the grid | Reference emissions by the transformer i during the period p | Project emissions by the transformer i during the period p | Emissions reductions by the transformer i during the period p
Units | - | - | - | hour/p | W | W | fraction | fraction | tCO2/MWh | tCO2/p | tCO2/p | tCO2/p
Estimated values | 1 | 10 |  | 525600 | 340 | 125 | 0.0187 | 0.15 | 0.749 | 131.3463 | 55.5324 | 75.8139
| 2 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 3 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 4 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 5 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 6 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 7 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 8 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 9 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 10 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 11 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 12 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 13 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 14 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 15 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 16 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 17 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 18 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 19 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 20 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 21 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 22 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 23 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 24 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 25 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 26 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 27 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 28 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 29 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 30 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 31 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 32 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 33 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 34 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 35 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 36 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 37 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 38 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 39 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 40 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 41 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 42 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 43 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 44 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 45 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 46 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 47 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 48 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 49 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 50 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 51 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 52 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 53 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 54 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 55 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 56 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 57 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 58 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 59 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 60 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 61 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 62 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 63 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 64 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 65 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 66 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 67 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 68 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 69 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 70 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 71 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 72 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 73 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 74 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 75 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 76 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 77 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 78 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 79 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 80 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 81 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 82 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 83 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 84 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 85 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 86 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 87 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 88 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 89 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 90 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 91 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 92 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 93 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 94 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 95 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 96 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 97 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 98 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 99 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 100 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 101 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 102 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 103 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 104 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 105 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 106 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 107 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 108 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 109 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 110 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 111 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 112 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 113 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 114 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 115 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 116 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 117 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 118 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 119 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 120 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 121 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 122 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 123 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 124 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 125 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 126 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 127 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 128 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 129 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 130 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 131 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 132 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 133 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 134 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 135 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 136 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 137 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 138 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 139 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 140 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 141 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 142 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 143 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 144 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 145 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 146 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 147 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 148 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 149 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 150 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 151 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 152 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 153 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 154 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 155 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 156 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 157 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 158 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 159 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 160 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 161 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 162 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 163 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 164 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 165 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 166 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 167 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 168 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 169 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 170 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 171 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 172 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 173 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 174 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 175 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 176 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 177 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 178 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 179 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 180 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 181 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 182 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 183 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 184 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 185 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 186 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 187 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 188 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 189 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 190 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 191 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 192 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 193 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 194 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 195 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 196 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 197 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 198 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 199 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 200 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 201 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 202 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 203 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 204 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 205 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 206 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 207 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 208 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 209 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 210 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 211 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 212 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 213 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 214 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 215 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 216 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 217 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 218 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 219 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 220 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 221 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 222 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 223 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 224 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 225 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 226 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 227 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 228 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 229 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 230 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 231 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 232 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 233 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 234 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 235 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 236 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 237 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 238 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 239 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 240 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 241 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 242 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 243 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 244 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 245 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 246 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 247 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 248 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 249 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 250 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 251 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 252 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 253 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 254 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 255 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 256 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 257 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 258 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 259 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 260 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 261 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 262 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 263 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 264 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 265 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 266 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 267 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 268 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 269 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 270 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 271 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 272 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 273 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 274 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 275 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 276 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 277 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 278 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 279 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 280 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 281 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 282 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 283 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 284 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 285 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 286 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 287 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 288 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 289 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 290 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 291 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 292 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 293 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 294 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 295 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 296 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 297 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 298 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 299 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 300 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 301 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 302 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 303 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 304 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 305 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 306 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 307 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 308 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 309 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 310 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 311 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 312 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 313 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 314 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 315 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 316 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 317 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 318 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 319 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 320 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 321 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 322 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 323 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 324 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 325 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 326 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 327 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 328 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 329 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 330 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 331 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 332 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 333 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 334 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 335 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 336 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 337 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 338 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 339 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 340 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 341 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 342 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 343 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 344 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 345 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 346 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 347 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 348 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 349 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 350 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 351 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 352 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 353 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 354 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 355 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 356 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 357 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 358 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 359 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 360 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 361 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 362 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 363 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 364 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 365 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 366 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 367 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 368 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 369 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 370 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 371 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 372 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 373 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 374 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 375 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 376 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 377 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 378 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 379 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 380 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 381 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 382 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 383 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 384 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 385 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 386 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 387 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 388 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 389 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 390 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 391 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 392 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 393 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 394 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 395 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 396 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 397 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 398 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 399 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 400 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 401 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 402 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 403 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 404 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 405 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 406 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 407 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 408 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 409 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 410 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 411 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 412 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 413 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 414 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 415 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 416 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 417 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 418 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 419 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 420 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 421 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 422 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 423 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 424 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 425 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 426 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 427 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 428 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 429 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 430 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 431 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 432 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 433 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 434 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 435 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 436 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 437 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 438 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 439 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 440 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 441 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 442 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 443 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 444 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 445 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 446 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 447 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 448 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 449 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 450 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 451 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 452 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 453 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 454 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 455 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 456 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 457 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 458 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 459 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 460 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 461 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 462 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 463 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 464 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 465 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 466 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 467 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 468 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 469 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 470 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 471 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 472 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 473 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 474 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 475 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 476 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 477 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 478 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 479 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 480 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 481 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 482 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 483 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 484 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 485 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 486 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 487 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 488 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 489 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 490 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 491 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 492 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 493 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 494 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 495 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 496 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 497 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 498 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 499 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 500 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 501 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 502 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 503 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 504 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 505 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 506 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 507 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 508 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 509 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 510 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 511 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 512 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 513 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 514 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 515 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 516 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 517 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 518 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 519 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 520 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 521 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 522 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 523 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 524 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 525 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 526 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 527 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 528 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 529 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 530 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 531 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 532 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 533 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 534 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 535 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 536 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 537 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 538 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 539 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 540 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 541 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 542 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 543 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 544 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 545 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 546 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 547 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 548 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 549 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 550 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 551 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 552 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 553 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 554 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 555 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 556 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 557 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 558 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 559 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 560 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 561 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 562 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 563 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 564 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 565 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 566 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 567 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 568 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 569 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 570 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 571 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 572 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 573 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 574 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 575 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 576 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 577 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 578 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 579 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 580 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 581 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 582 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 583 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 584 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 585 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 586 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 587 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 588 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 589 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 590 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 591 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 592 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 593 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 594 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 595 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 596 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 597 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 598 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 599 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 600 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 601 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 602 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 603 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 604 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 605 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 606 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 607 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 608 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 609 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 610 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 611 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 612 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 613 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 614 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 615 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 616 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 617 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 618 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 619 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 620 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 621 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 622 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 623 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 624 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 625 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 626 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 627 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 628 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 629 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 630 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 631 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 632 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 633 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 634 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 635 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 636 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 637 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 638 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 639 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 640 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 641 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 642 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 643 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 644 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 645 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 646 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 647 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 648 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 649 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 650 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 651 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 652 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 653 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 654 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 655 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 656 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 657 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 658 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 659 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 660 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 661 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 662 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 663 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 664 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 665 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 666 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 667 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 668 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 669 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 670 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 671 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 672 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 673 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 674 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 675 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 676 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 677 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 678 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 679 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 680 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 681 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 682 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 683 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 684 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 685 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 686 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 687 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 688 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 689 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 690 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 691 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 692 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 693 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 694 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 695 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 696 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 697 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 698 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 699 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 700 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 701 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 702 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 703 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 704 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 705 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 706 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 707 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 708 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 709 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 710 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 711 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 712 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 713 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 714 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 715 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 716 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 717 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 718 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 719 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 720 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 721 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 722 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 723 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 724 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 725 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 726 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 727 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 728 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 729 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 730 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 731 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 732 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 733 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 734 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 735 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 736 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 737 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 738 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 739 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 740 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 741 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 742 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 743 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 744 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 745 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 746 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 747 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 748 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 749 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 750 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 751 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 752 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 753 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 754 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 755 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 756 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 757 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 758 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 759 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 760 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 761 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 762 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 763 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 764 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 765 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 766 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 767 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 768 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 769 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 770 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 771 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 772 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 773 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 774 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 775 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 776 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 777 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 778 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 779 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 780 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 781 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 782 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 783 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 784 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 785 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 786 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 787 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 788 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 789 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 790 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 791 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 792 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 793 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 794 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 795 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 796 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 797 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 798 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 799 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 800 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 801 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 802 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 803 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 804 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 805 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 806 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 807 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 808 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 809 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 810 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 811 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 812 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 813 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 814 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 815 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 816 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 817 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 818 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 819 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 820 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 821 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 822 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 823 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 824 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 825 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 826 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 827 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 828 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 829 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 830 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 831 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 832 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 833 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 834 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 835 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 836 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 837 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 838 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 839 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 840 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 841 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 842 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 843 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 844 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 845 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 846 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 847 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 848 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 849 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 850 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 851 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 852 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 853 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 854 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 855 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 856 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 857 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 858 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 859 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 860 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 861 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 862 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 863 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 864 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 865 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 866 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 867 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 868 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 869 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 870 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 871 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 872 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 873 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 874 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 875 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 876 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 877 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 878 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 879 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 880 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 881 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 882 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 883 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 884 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 885 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 886 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 887 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 888 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 889 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 890 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 891 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 892 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 893 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 894 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 895 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 896 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 897 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 898 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 899 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 900 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 901 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 902 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 903 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 904 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 905 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 906 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 907 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 908 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 909 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 910 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 911 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 912 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 913 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 914 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 915 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 916 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 917 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 918 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 919 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 920 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 921 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 922 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 923 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 924 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 925 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 926 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 927 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 928 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 929 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 930 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 931 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 932 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 933 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 934 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 935 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 936 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 937 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 938 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 939 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 940 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 941 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 942 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 943 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 944 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 945 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 946 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 947 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 948 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 949 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 950 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 951 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 952 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 953 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 954 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 955 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 956 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 957 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 958 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 959 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 960 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 961 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 962 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 963 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 964 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 965 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 966 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 967 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 968 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 969 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 970 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 971 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 972 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 973 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 974 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 975 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 976 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 977 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 978 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 979 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 980 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 981 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 982 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 983 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 984 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 985 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 986 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 987 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 988 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 989 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 990 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 991 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 992 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 993 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 994 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 995 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 996 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 997 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 998 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 999 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| 1000 | [5 empty] | 0.0187 |  | 0.749 | 0 | 0 | 0
| Total |  |  | - | - | - | - | - | - | 131.3463 | 55.5324 | 75.8139

## PMS(calc_process)
JCM_VN_F_PMS_ver01.0
JCM Proposed Methodology Spreadsheet Form (Calculation Process Sheet)
[Attachment to Proposed Methodology Form]
1. Calculations for emission reductions |  |  | Fuel type | Value | Units | Parameter
| Emission reductions during the period p |  |  | 75 | tCO2/p | ERp
2. Calculations for reference emissions
| Reference emissions during the period p |  |  | 131.3463 | tCO2/p | REp
3. Calculations of the project emissions
| Project emissions during the period p |  |  | 55.5324 | tCO2/p | PEp
[List of Default Values]
|  | Blackout rate | 0.0187 | fraction
|  | CO2 emission factor of the grid | 0.749 | tCO2/MWh