## MPS(input_fridge_showcase)
Monitoring Spreadsheet: JCM_ID_AM008_ver01.0
Sectoral scope: 03
Monitoring Plan Sheet (Input Sheet) [Attachment to Project Design Document]
[For fridge showcase]
Table 1: Parameters to be monitored ex post |  |  |  | Table 2: Project-specific parameters to be fixed ex ante | [6 empty] | Table3: Ex-ante estimation of each CO2 emission reductions |  |  |  |  | Table4: Ex-ante estimation of CO2 emission reductions for fridge showcases
| (a) | Monitoring point No. | 1 | [12 empty] | CO2 emission reductions |  | Units
| (b) | Parameters | ECPJ,fridge,i,p | (a) | Parameters | ηPJ,fridge,i | ηRE,fridge,i | ηPJ,fridge,cap,i | EFelec | ηRE,AC | (a) | Parameters | REfridge,i,p | REAC,add,fridge,i,p | PEfridge,i,p | 0 |  | tCO2/p
| (c) | Description of data | Electricity consumption of the project fridge showcase i during the period p | (b) | Description of data | Energy efficiency of the volume of the project fridge showcase i | Energy efficiency of the volume of the reference fridge showcase i | Energy efficiency of the cooling capacity of the project fridge showcase i | CO2 emission factor for consumed electricity | COP of the reference air conditioning system | (b) | Description of data | Reference emissions of the fridge showcase i during the period p | Reference emissions of the air conditioning system caused by the additional electricity consumption due to additional load caused by exhaust heat from the reference fridge showcase i during the period p | Project emissions of the fridge showcase i during the period p | [Monitoring option]
| (e) | Units | MWh/p | (d) | Units | L/W | L/W | W/W | tCO2/MWh | - | [5 empty] | Option A | Based on public data which is measured by entities other than the project participants (Data used: publicly recognized data such as statistical data and specifications)
| (f) | Monitoring option | Option C | (e) | Source of data | The specifications of the project fridge showcase and condensing unit for quotation or the factory acceptance test data by manufacturer. | The default values set in this methodology corresponding to the type and rated volume of the project fridge showcase | The specifications of the project fridge showcase for quotation or the factory acceptance test data by manufacturer. | [For grid electricity] The most recent value available at the time of validation is applied and fixed for the monitoring period thereafter. The data is sourced from “Emission Factors of Electricity Interconnection Systems”, National Committee on Clean Development Mechanism (Indonesian DNA for CDM), based on data obtained by Directorate General of Electricity, Ministry of Energy and Mineral Resources, Indonesia, unless otherwise instructed by the Joint Committee." [For captive electricity] CDM approved small scale methodology AMS-I.A | The latest version of approved JCM methodology ID_AM004: * The default COP values may be revised as to the revision of the approved JCM methodology ID_AM004. | [5 empty] | Option B | Based on the amount of transaction which is measured directly using measuring equipments (Data used: commercial evidence such as invoices)
| (g) | Source of data | Monitored data | [12 empty] | Option C | Based on the actual measurement using measuring equipments (Data used: measured values)
| (h) | Measurement methods and procedures | Measuring equipment is installed to measure power consumption of fridge showcase. Measurement is conducted with any of the following methods: [Method 1: Automated monitoring system] - Measured data is automatically transmitted through internet to the remote server for recording. - Data recorded in the remote server is reported and double-checked by a responsible staff on a monthly basis to prevent missing data. [Method 2: Manual monitoring] - Measured data on monitoring equipment are read and recorded manually by a grocery store staff member and double-checked by another member on a monthly basis, to prevent missing data. In case a calibration certificate issued by an entity accredited under national/international standards is not provided, such measuring equipment is required to be calibrated.
| (i) | Monitoring frequency | Monthly | (f) | Other comments | [5 empty] | (d) | Units | tCO2/p | tCO2/p | tCO2/p
| (j) | Other comments
| (d) | Estimated Value of the fridge showcase i |  | (c) | Estimated Value of the fridge showcase i | [5 empty] | (c) | Estimated Value of the fridge showcase i
|  | i=1 |  |  | i=1 | [6 empty] | i=1 | 0 | 0 | 0
|  | i=2 |  |  | i=2 | [6 empty] | i=2 | 0 | 0 | 0
|  | i=3 |  |  | i=3 | [6 empty] | i=3 | 0 | 0 | 0
|  | i=4 |  |  | i=4 | [6 empty] | i=4 | 0 | 0 | 0
|  | i=5 |  |  | i=5 | [6 empty] | i=5 | 0 | 0 | 0
|  | i=6 |  |  | i=6 | [6 empty] | i=6 | 0 | 0 | 0
|  | i=7 |  |  | i=7 | [6 empty] | i=7 | 0 | 0 | 0
|  | i=8 |  |  | i=8 | [6 empty] | i=8 | 0 | 0 | 0
|  | i=9 |  |  | i=9 | [6 empty] | i=9 | 0 | 0 | 0
|  | i=10 |  |  | i=10 | [6 empty] | i=10 | 0 | 0 | 0
|  | i=11 |  |  | i=11 | [6 empty] | i=11 | 0 | 0 | 0
|  | i=12 |  |  | i=12 | [6 empty] | i=12 | 0 | 0 | 0
|  | i=13 |  |  | i=13 | [6 empty] | i=13 | 0 | 0 | 0
|  | i=14 |  |  | i=14 | [6 empty] | i=14 | 0 | 0 | 0
|  | i=15 |  |  | i=15 | [6 empty] | i=15 | 0 | 0 | 0
|  | i=16 |  |  | i=16 | [6 empty] | i=16 | 0 | 0 | 0
|  | i=17 |  |  | i=17 | [6 empty] | i=17 | 0 | 0 | 0
|  | i=18 |  |  | i=18 | [6 empty] | i=18 | 0 | 0 | 0
|  | i=19 |  |  | i=19 | [6 empty] | i=19 | 0 | 0 | 0
|  | i=20 |  |  | i=20 | [6 empty] | i=20 | 0 | 0 | 0
|  | i=21 |  |  | i=21 | [6 empty] | i=21 | 0 | 0 | 0
|  | i=22 |  |  | i=22 | [6 empty] | i=22 | 0 | 0 | 0
|  | i=23 |  |  | i=23 | [6 empty] | i=23 | 0 | 0 | 0
|  | i=24 |  |  | i=24 | [6 empty] | i=24 | 0 | 0 | 0
|  | i=25 |  |  | i=25 | [6 empty] | i=25 | 0 | 0 | 0
|  | i=26 |  |  | i=26 | [6 empty] | i=26 | 0 | 0 | 0
|  | i=27 |  |  | i=27 | [6 empty] | i=27 | 0 | 0 | 0
|  | i=28 |  |  | i=28 | [6 empty] | i=28 | 0 | 0 | 0
|  | i=29 |  |  | i=29 | [6 empty] | i=29 | 0 | 0 | 0
|  | i=30 |  |  | i=30 | [6 empty] | i=30 | 0 | 0 | 0
|  | i=31 |  |  | i=31 | [6 empty] | i=31 | 0 | 0 | 0
|  | i=32 |  |  | i=32 | [6 empty] | i=32 | 0 | 0 | 0
|  | i=33 |  |  | i=33 | [6 empty] | i=33 | 0 | 0 | 0
|  | i=34 |  |  | i=34 | [6 empty] | i=34 | 0 | 0 | 0
|  | i=35 |  |  | i=35 | [6 empty] | i=35 | 0 | 0 | 0
|  | i=36 |  |  | i=36 | [6 empty] | i=36 | 0 | 0 | 0
|  | i=37 |  |  | i=37 | [6 empty] | i=37 | 0 | 0 | 0
|  | i=38 |  |  | i=38 | [6 empty] | i=38 | 0 | 0 | 0
|  | i=39 |  |  | i=39 | [6 empty] | i=39 | 0 | 0 | 0
|  | i=40 |  |  | i=40 | [6 empty] | i=40 | 0 | 0 | 0
|  | i=41 |  |  | i=41 | [6 empty] | i=41 | 0 | 0 | 0
|  | i=42 |  |  | i=42 | [6 empty] | i=42 | 0 | 0 | 0
|  | i=43 |  |  | i=43 | [6 empty] | i=43 | 0 | 0 | 0
|  | i=44 |  |  | i=44 | [6 empty] | i=44 | 0 | 0 | 0
|  | i=45 |  |  | i=45 | [6 empty] | i=45 | 0 | 0 | 0
|  | i=46 |  |  | i=46 | [6 empty] | i=46 | 0 | 0 | 0
|  | i=47 |  |  | i=47 | [6 empty] | i=47 | 0 | 0 | 0
|  | i=48 |  |  | i=48 | [6 empty] | i=48 | 0 | 0 | 0
|  | i=49 |  |  | i=49 | [6 empty] | i=49 | 0 | 0 | 0
|  | i=50 |  |  | i=50 | [6 empty] | i=50 | 0 | 0 | 0

## MPS(input_freezer_showcase)
Monitoring Spreadsheet: JCM_ID_AM008_ver01.0
Sectoral scope: 03
Monitoring Plan Sheet (Input Sheet) [Attachment to Project Design Document]
[For freezer showcase]
Table 1: Parameters to be monitored ex post |  |  |  | Table 2: Project-specific parameters to be fixed ex ante | [6 empty] | Table3: Ex-ante estimation of each CO2 emission reductions |  |  |  |  | Table4: Ex-ante estimation of CO2 emission reductions for freezer showcases
| (a) | Monitoring point No. | 1 | [12 empty] | CO2 emission reductions |  | Units
| (b) | Parameters | ECPJ,freezer,j,p | (a) | Parameters | ηPJ,freezer,j | ηRE,freezer,j | ηPJ,freezer,cap,j | EFelec | ηRE,AC | (a) | Parameters | REfreezer,j,p | REAC,add,freezer,j,p | PEfreezer,j,p | 0 |  | tCO2/p
| (c) | Description of data | Electricity consumption of the project freezer showcase j during the period p | (b) | Description of data | Energy efficiency of the volume of the project freezer showcase j | Energy efficiency of the volume of the reference freezer showcase j | Energy efficiency of the cooling capacity of the project freezer showcase j | CO2 emission factor for consumed electricity | COP of the reference air conditioning system | (b) | Description of data | Reference emissions of the freezer showcase j during the period p | Reference emissions of the air conditioning system caused by the additional electricity consumption due to additional load caused by exhaust heat from the reference freezer showcase j during the period p | Project emissions of the freezer showcase j during the period p | [Monitoring option]
| (e) | Units | MWh/p | (d) | Units | L/W | L/W | W/W | tCO2/MWh | - | [5 empty] | Option A | Based on public data which is measured by entities other than the project participants (Data used: publicly recognized data such as statistical data and specifications)
| (f) | Monitoring option | Option C | (e) | Source of data | The specifications of the project freezer showcase for quotation and condensing unit or the factory acceptance test data by manufacturer | The default values set in this methodology corresponding to the type and rated volume of the project freezer showcase | The specifications of the project freezer showcase for quotation or the factory acceptance test data by manufacturer | [For grid electricity] The most recent value available at the time of validation is applied and fixed for the monitoring period thereafter. The data is sourced from “Emission Factors of Electricity Interconnection Systems”, National Committee on Clean Development Mechanism (Indonesian DNA for CDM), based on data obtained by Directorate General of Electricity, Ministry of Energy and Mineral Resources, Indonesia, unless otherwise instructed by the Joint Committee." [For captive electricity] CDM approved small scale methodology AMS-I.A | The latest version of approved JCM methodology ID_AM004: * The default COP values may be revised as to the revision of the approved JCM methodology ID_AM004. | [5 empty] | Option B | Based on the amount of transaction which is measured directly using measuring equipments (Data used: commercial evidence such as invoices)
| (g) | Source of data | Monitored data | [12 empty] | Option C | Based on the actual measurement using measuring equipments (Data used: measured values)
| (h) | Measurement methods and procedures | Measuring equipment is installed to measure power consumption of freezer showcase. Measurement is conducted with any of the following methods: [Method 1: Automated monitoring system] - Measured data is automatically transmitted through internet to the remote server for recording. - Data recorded in the remote server is reported and double-checked by a responsible staff on a monthly basis to prevent missing data. [Method 2: Manual monitoring] - Measured data on monitoring equipment are read and recorded manually by a grocery store staff member and double-checked by another member on a monthly basis, to prevent missing data. In case a calibration certificate issued by an entity accredited under national/international standards is not provided, such measuring equipment is required to be calibrated.
| (i) | Monitoring frequency | Monthly | (f) | Other comments | [5 empty] | (d) | Units | tCO2/p | tCO2/p | tCO2/p
| (j) | Other comments
| (d) | Estimated Value of the freezer showcase j |  | (c) | Estimated Value of the freezer showcase j | [5 empty] | (c) | Estimated Value of the freezer showcase j
|  | j=1 |  |  | j=1 |  |  |  |  | 3.59 |  | j=1 | 0 | 0 | 0
|  | j=2 |  |  | j=2 | [6 empty] | j=2 | 0 | 0 | 0
|  | j=3 |  |  | j=3 | [6 empty] | j=3 | 0 | 0 | 0
|  | j=4 |  |  | j=4 | [6 empty] | j=4 | 0 | 0 | 0
|  | j=5 |  |  | j=5 | [6 empty] | j=5 | 0 | 0 | 0
|  | j=6 |  |  | j=6 | [6 empty] | j=6 | 0 | 0 | 0
|  | j=7 |  |  | j=7 | [6 empty] | j=7 | 0 | 0 | 0
|  | j=8 |  |  | j=8 | [6 empty] | j=8 | 0 | 0 | 0
|  | j=9 |  |  | j=9 | [6 empty] | j=9 | 0 | 0 | 0
|  | j=10 |  |  | j=10 | [6 empty] | j=10 | 0 | 0 | 0
|  | j=11 |  |  | j=11 | [6 empty] | j=11 | 0 | 0 | 0
|  | j=12 |  |  | j=12 | [6 empty] | j=12 | 0 | 0 | 0
|  | j=13 |  |  | j=13 | [6 empty] | j=13 | 0 | 0 | 0
|  | j=14 |  |  | j=14 | [6 empty] | j=14 | 0 | 0 | 0
|  | j=15 |  |  | j=15 | [6 empty] | j=15 | 0 | 0 | 0
|  | j=16 |  |  | j=16 | [6 empty] | j=16 | 0 | 0 | 0
|  | j=17 |  |  | j=17 | [6 empty] | j=17 | 0 | 0 | 0
|  | j=18 |  |  | j=18 | [6 empty] | j=18 | 0 | 0 | 0
|  | j=19 |  |  | j=19 | [6 empty] | j=19 | 0 | 0 | 0
|  | j=20 |  |  | j=20 | [6 empty] | j=20 | 0 | 0 | 0
|  | j=21 |  |  | j=21 | [6 empty] | j=21 | 0 | 0 | 0
|  | j=22 |  |  | j=22 | [6 empty] | j=22 | 0 | 0 | 0
|  | j=23 |  |  | j=23 | [6 empty] | j=23 | 0 | 0 | 0
|  | j=24 |  |  | j=24 | [6 empty] | j=24 | 0 | 0 | 0
|  | j=25 |  |  | j=25 | [6 empty] | j=25 | 0 | 0 | 0
|  | j=26 |  |  | j=26 | [6 empty] | j=26 | 0 | 0 | 0
|  | j=27 |  |  | j=27 | [6 empty] | j=27 | 0 | 0 | 0
|  | j=28 |  |  | j=28 | [6 empty] | j=28 | 0 | 0 | 0
|  | j=29 |  |  | j=29 | [6 empty] | j=29 | 0 | 0 | 0
|  | j=30 |  |  | j=30 | [6 empty] | j=30 | 0 | 0 | 0
|  | j=31 |  |  | j=31 | [6 empty] | j=31 | 0 | 0 | 0
|  | j=32 |  |  | j=32 | [6 empty] | j=32 | 0 | 0 | 0
|  | j=33 |  |  | j=33 | [6 empty] | j=33 | 0 | 0 | 0
|  | j=34 |  |  | j=34 | [6 empty] | j=34 | 0 | 0 | 0
|  | j=35 |  |  | j=35 | [6 empty] | j=35 | 0 | 0 | 0
|  | j=36 |  |  | j=36 | [6 empty] | j=36 | 0 | 0 | 0
|  | j=37 |  |  | j=37 | [6 empty] | j=37 | 0 | 0 | 0
|  | j=38 |  |  | j=38 | [6 empty] | j=38 | 0 | 0 | 0
|  | j=39 |  |  | j=39 | [6 empty] | j=39 | 0 | 0 | 0
|  | j=40 |  |  | j=40 | [6 empty] | j=40 | 0 | 0 | 0
|  | j=41 |  |  | j=41 | [6 empty] | j=41 | 0 | 0 | 0
|  | j=42 |  |  | j=42 | [6 empty] | j=42 | 0 | 0 | 0
|  | j=43 |  |  | j=43 | [6 empty] | j=43 | 0 | 0 | 0
|  | j=44 |  |  | j=44 | [6 empty] | j=44 | 0 | 0 | 0
|  | j=45 |  |  | j=45 | [6 empty] | j=45 | 0 | 0 | 0
|  | j=46 |  |  | j=46 | [6 empty] | j=46 | 0 | 0 | 0
|  | j=47 |  |  | j=47 | [6 empty] | j=47 | 0 | 0 | 0
|  | j=48 |  |  | j=48 | [6 empty] | j=48 | 0 | 0 | 0
|  | j=49 |  |  | j=49 | [6 empty] | j=49 | 0 | 0 | 0
|  | j=50 |  |  | j=50 | [6 empty] | j=50 | 0 | 0 | 0

## MPS(calc_process)
Monitoring Spreadsheet: JCM_ID_AM008_ver01.0
Sectoral scope: 03
Monitoring Plan Sheet (Calculation Process Sheet) [Attachment to Project Design Document]
1. Calculations for emission reductions |  |  |  | Fuel type | Value | Units | Parameter
| Emission reductions during the period p |  |  |  | 0 | tCO2/p | ERp
|  | Emission reductions of the fridge showcase |  |  | 0 | tCO2/p | -
|  | Emission reductions of the freezer showcase |  |  | 0 | tCO2/p | -
2. Selected default values, etc.
3. Calculations for reference emissions
| Reference emissions during the period p |  |  |  | 0 | tCO2/p | REp
|  | Reference emissions of the fridge showcase |  |  | 0 | tCO2/p | REfridge,p
|  | Reference emissions of the freezer showcase |  |  | 0 | tCO2/p | REfreezer,p
|  | Reference emissions of the air conditioning system caused by the additional electricity consumption due to additional load caused by exhaust heat from the reference fridge showcase |  |  | 0 | tCO2/p | REAC,add,fridge,p
|  | Reference emissions of the air conditioning system caused by the additional electricity consumption due to additional load caused by exhaust heat from the reference freezer showcase |  |  | 0 | tCO2/p | REAC,add,freezer,p
4. Calculations of the project emissions
| Project emissions during the period p |  |  |  | 0 | tCO2/p | PEp
|  | Project emissions of the project fridge showcase |  |  | 0 | tCO2/p | PEfridge,p
|  | Project emissions of the project freezer showcase |  |  | 0 | tCO2/p | PEfreezer,p
[List of Default Values]
|  |  | Energy efficiency of the reference fridge showcase | Range of volume (L) |  | Energy efficiency
|  |  | Type: Reach-in showcase | z < 900 |  |  | 1.18
|  |  |  | 900 ≦ z < 1200 |  |  | 1.07
|  |  |  | 1200 ≦ z |  |  | 2.24
|  |  | Energy efficiency of the reference fridge showcase | Range of volume (L) |  | Energy efficiency
|  |  | Type: Open showcase | z < 900 |  |  | 0.5
|  |  |  | 900 ≦ z |  |  | 0.65
|  |  |  | 1200 ≦ z |  |  | 0.73
|  |  | Energy efficiency of the reference freezer showcase | Range of volume (L) |  | Energy efficiency
|  |  | Type: Reach-in showcase | z < 900 |  |  | 0.7
|  |  |  | 900 ≦ z |  |  | 0.7
|  |  |  | 1200 ≦ z |  |  | 1.01
|  |  | COP of the reference air conditioning system | Cooling Capacity (kW) |  | Reference COP
|  |  |  | 2.5 < x ≦ 4.1 |  |  | 4
|  |  |  | 4.1 < x ≦ 5.3 |  |  | 3.59
|  |  |  | 5.3 < x ≦ 7.1 |  |  | 2.96
|  |  |  | 7.1 < x ≦ 14.2 |  |  | 2.85

## MSS
Monitoring Spreadsheet: JCM_ID_AM008_ver01.0
Sectoral scope: 03
Monitoring Structure Sheet [Attachment to Project Design Document]
| Responsible personnel | Role

## MRS(input_fridge_showcase)
Monitoring Spreadsheet: JCM_ID_AM008_ver01.0
Sectoral scope: 03
Monitoring Report Sheet (Input Sheet) [For Verification]
[For fridge showcase]
Table 1: Parameters monitored ex post |  |  |  | Table 2: Project-specific parameters fixed ex ante | [6 empty] | Table3: Ex-post calculation of each CO2 emission reductions |  |  |  |  | Table4: Ex-post calculation of CO2 emission reductions for fridge showcases
| (a) | Monitoring period | [13 empty] | Monitoring Period |  | CO2 emission reductions | Units
| (b) | Monitoring point No. | 1 | [14 empty] | 0 | tCO2/p
| (c) | Parameters | ECPJ,fridge,i,p | (a) | Parameters | ηPJ,fridge,i | ηRE,fridge,i | ηPJ,fridge,cap,i | EFelec | ηRE,AC | (a) | Parameters | REfridge,i,p | REAC,add,fridge,i,p | PEfridge,i,p
| (d) | Description of data | Electricity consumption of the project fridge showcase i during the period p | (b) | Description of data | Energy efficiency of the volume of the project fridge showcase i | Energy efficiency of the volume of the reference fridge showcase i | Energy efficiency of the cooling capacity of the project fridge showcase i | CO2 emission factor for consumed electricity | COP of the reference air conditioning system | (b) | Description of data | Reference emissions of the fridge showcase i during the period p | Reference emissions of the air conditioning system caused by the additional electricity consumption due to additional load caused by exhaust heat from the reference fridge showcase i during the period p | Project emissions of the fridge showcase i during the period p | [Monitoring option]
| (f) | Units | MWh/p | (d) | Units | L/W | L/W | W/W | tCO2/MWh | - | [5 empty] | Option A | Based on public data which is measured by entities other than the project participants (Data used: publicly recognized data such as statistical data and specifications)
| (g) | Monitoring option | Option C | (e) | Source of data | The specifications of the project fridge showcase and condensing unit for quotation or the factory acceptance test data by manufacturer. | The default values set in this methodology corresponding to the type and rated volume of the project fridge showcase | The specifications of the project fridge showcase for quotation or the factory acceptance test data by manufacturer. | [For grid electricity] The most recent value available at the time of validation is applied and fixed for the monitoring period thereafter. The data is sourced from “Emission Factors of Electricity Interconnection Systems”, National Committee on Clean Development Mechanism (Indonesian DNA for CDM), based on data obtained by Directorate General of Electricity, Ministry of Energy and Mineral Resources, Indonesia, unless otherwise instructed by the Joint Committee." [For captive electricity] CDM approved small scale methodology AMS-I.A | The latest version of approved JCM methodology ID_AM004: * The default COP values may be revised as to the revision of the approved JCM methodology ID_AM004. | [5 empty] | Option B | Based on the amount of transaction which is measured directly using measuring equipments (Data used: commercial evidence such as invoices)
| (h) | Source of data | Monitored data | [12 empty] | Option C | Based on the actual measurement using measuring equipments (Data used: measured values)
| (i) | Measurement methods and procedures | Measuring equipment is installed to measure power consumption of fridge showcase. Measurement is conducted with any of the following methods: [Method 1: Automated monitoring system] - Measured data is automatically transmitted through internet to the remote server for recording. - Data recorded in the remote server is reported and double-checked by a responsible staff on a monthly basis to prevent missing data. [Method 2: Manual monitoring] - Measured data on monitoring equipment are read and recorded manually by a grocery store staff member and double-checked by another member on a monthly basis, to prevent missing data. In case a calibration certificate issued by an entity accredited under national/international standards is not provided, such measuring equipment is required to be calibrated.
| (j) | Monitoring frequency | Monthly | (f) | Other comments | [5 empty] | (d) | Units | tCO2/p | tCO2/p | tCO2/p
| (k) | Other comments
| (e) | Monitored Value of the fridge showcase i |  | (c) | Estimated Value of the fridge showcase i | [5 empty] | (c) | Estimated Value of the fridge showcase i
|  | i=1 |  |  | i=1 | [6 empty] | i=1 | 0 | 0 | 0
|  | i=2 |  |  | i=2 | [6 empty] | i=2 | 0 | 0 | 0
|  | i=3 |  |  | i=3 | [6 empty] | i=3 | 0 | 0 | 0
|  | i=4 |  |  | i=4 | [6 empty] | i=4 | 0 | 0 | 0
|  | i=5 |  |  | i=5 | [6 empty] | i=5 | 0 | 0 | 0
|  | i=6 |  |  | i=6 | [6 empty] | i=6 | 0 | 0 | 0
|  | i=7 |  |  | i=7 | [6 empty] | i=7 | 0 | 0 | 0
|  | i=8 |  |  | i=8 | [6 empty] | i=8 | 0 | 0 | 0
|  | i=9 |  |  | i=9 | [6 empty] | i=9 | 0 | 0 | 0
|  | i=10 |  |  | i=10 | [6 empty] | i=10 | 0 | 0 | 0
|  | i=11 |  |  | i=11 | [6 empty] | i=11 | 0 | 0 | 0
|  | i=12 |  |  | i=12 | [6 empty] | i=12 | 0 | 0 | 0
|  | i=13 |  |  | i=13 | [6 empty] | i=13 | 0 | 0 | 0
|  | i=14 |  |  | i=14 | [6 empty] | i=14 | 0 | 0 | 0
|  | i=15 |  |  | i=15 | [6 empty] | i=15 | 0 | 0 | 0
|  | i=16 |  |  | i=16 | [6 empty] | i=16 | 0 | 0 | 0
|  | i=17 |  |  | i=17 | [6 empty] | i=17 | 0 | 0 | 0
|  | i=18 |  |  | i=18 | [6 empty] | i=18 | 0 | 0 | 0
|  | i=19 |  |  | i=19 | [6 empty] | i=19 | 0 | 0 | 0
|  | i=20 |  |  | i=20 | [6 empty] | i=20 | 0 | 0 | 0
|  | i=21 |  |  | i=21 | [6 empty] | i=21 | 0 | 0 | 0
|  | i=22 |  |  | i=22 | [6 empty] | i=22 | 0 | 0 | 0
|  | i=23 |  |  | i=23 | [6 empty] | i=23 | 0 | 0 | 0
|  | i=24 |  |  | i=24 | [6 empty] | i=24 | 0 | 0 | 0
|  | i=25 |  |  | i=25 | [6 empty] | i=25 | 0 | 0 | 0
|  | i=26 |  |  | i=26 | [6 empty] | i=26 | 0 | 0 | 0
|  | i=27 |  |  | i=27 | [6 empty] | i=27 | 0 | 0 | 0
|  | i=28 |  |  | i=28 | [6 empty] | i=28 | 0 | 0 | 0
|  | i=29 |  |  | i=29 | [6 empty] | i=29 | 0 | 0 | 0
|  | i=30 |  |  | i=30 | [6 empty] | i=30 | 0 | 0 | 0
|  | i=31 |  |  | i=31 | [6 empty] | i=31 | 0 | 0 | 0
|  | i=32 |  |  | i=32 | [6 empty] | i=32 | 0 | 0 | 0
|  | i=33 |  |  | i=33 | [6 empty] | i=33 | 0 | 0 | 0
|  | i=34 |  |  | i=34 | [6 empty] | i=34 | 0 | 0 | 0
|  | i=35 |  |  | i=35 | [6 empty] | i=35 | 0 | 0 | 0
|  | i=36 |  |  | i=36 | [6 empty] | i=36 | 0 | 0 | 0
|  | i=37 |  |  | i=37 | [6 empty] | i=37 | 0 | 0 | 0
|  | i=38 |  |  | i=38 | [6 empty] | i=38 | 0 | 0 | 0
|  | i=39 |  |  | i=39 | [6 empty] | i=39 | 0 | 0 | 0
|  | i=40 |  |  | i=40 | [6 empty] | i=40 | 0 | 0 | 0
|  | i=41 |  |  | i=41 | [6 empty] | i=41 | 0 | 0 | 0
|  | i=42 |  |  | i=42 | [6 empty] | i=42 | 0 | 0 | 0
|  | i=43 |  |  | i=43 | [6 empty] | i=43 | 0 | 0 | 0
|  | i=44 |  |  | i=44 | [6 empty] | i=44 | 0 | 0 | 0
|  | i=45 |  |  | i=45 | [6 empty] | i=45 | 0 | 0 | 0
|  | i=46 |  |  | i=46 | [6 empty] | i=46 | 0 | 0 | 0
|  | i=47 |  |  | i=47 | [6 empty] | i=47 | 0 | 0 | 0
|  | i=48 |  |  | i=48 | [6 empty] | i=48 | 0 | 0 | 0
|  | i=49 |  |  | i=49 | [6 empty] | i=49 | 0 | 0 | 0
|  | i=50 |  |  | i=50 | [6 empty] | i=50 | 0 | 0 | 0

## MRS(input_freezer_showcase)
Monitoring Spreadsheet: JCM_ID_AM008_ver01.0
Sectoral scope: 03
Monitoring Report Sheet (Input Sheet) [For Verification]
[For freezer showcase]
Table 1: Parameters monitored ex post |  |  |  | Table 2: Project-specific parameters fixed ex ante | [6 empty] | Table3: Ex-post calculation of each CO2 emission reductions |  |  |  |  | Table4: Ex-post calculation of CO2 emission reductions for freezer showcases
| (a) | Monitoring period | [13 empty] | Monitoring Period |  | CO2 emission reductions | Units
| (b) | Monitoring point No. | 1 | [14 empty] | 0 | tCO2/p
| (c) | Parameters | ECPJ,freezer,j,p | (a) | Parameters | ηPJ,freezer,j | ηRE,freezer,j | ηPJ,freezer,cap,j | EFelec | ηRE,AC | (a) | Parameters | REfreezer,j,p | REAC,add,freezer,j,p | PEfreezer,j,p
| (d) | Description of data | Electricity consumption of the project freezer showcase j during the period p | (b) | Description of data | Energy efficiency of the volume of the project freezer showcase j | Energy efficiency of the volume of the reference freezer showcase j | Energy efficiency of the cooling capacity of the project freezer showcase j | CO2 emission factor for consumed electricity | COP of the reference air conditioning system | (b) | Description of data | Reference emissions of the freezer showcase j during the period p | Reference emissions of the air conditioning system caused by the additional electricity consumption due to additional load caused by exhaust heat from the reference freezer showcase j during the period p | Project emissions of the freezer showcase j during the period p | [Monitoring option]
| (f) | Units | MWh/p | (d) | Units | L/W | L/W | W/W | tCO2/MWh | - | [5 empty] | Option A | Based on public data which is measured by entities other than the project participants (Data used: publicly recognized data such as statistical data and specifications)
| (g) | Monitoring option | Option C | (e) | Source of data | The specifications of the project freezer showcase for quotation and condensing unit or the factory acceptance test data by manufacturer | The default values set in this methodology corresponding to the type and rated volume of the project freezer showcase | The specifications of the project freezer showcase for quotation or the factory acceptance test data by manufacturer | [For grid electricity] The most recent value available at the time of validation is applied and fixed for the monitoring period thereafter. The data is sourced from “Emission Factors of Electricity Interconnection Systems”, National Committee on Clean Development Mechanism (Indonesian DNA for CDM), based on data obtained by Directorate General of Electricity, Ministry of Energy and Mineral Resources, Indonesia, unless otherwise instructed by the Joint Committee." [For captive electricity] CDM approved small scale methodology AMS-I.A | The latest version of approved JCM methodology ID_AM004: * The default COP values may be revised as to the revision of the approved JCM methodology ID_AM004. | [5 empty] | Option B | Based on the amount of transaction which is measured directly using measuring equipments (Data used: commercial evidence such as invoices)
| (h) | Source of data | Monitored data | [12 empty] | Option C | Based on the actual measurement using measuring equipments (Data used: measured values)
| (i) | Measurement methods and procedures | Measuring equipment is installed to measure power consumption of freezer showcase. Measurement is conducted with any of the following methods: [Method 1: Automated monitoring system] - Measured data is automatically transmitted through internet to the remote server for recording. - Data recorded in the remote server is reported and double-checked by a responsible staff on a monthly basis to prevent missing data. [Method 2: Manual monitoring] - Measured data on monitoring equipment are read and recorded manually by a grocery store staff member and double-checked by another member on a monthly basis, to prevent missing data. In case a calibration certificate issued by an entity accredited under national/international standards is not provided, such measuring equipment is required to be calibrated.
| (j) | Monitoring frequency | Monthly | (f) | Other comments | [5 empty] | (d) | Units | tCO2/p | tCO2/p | tCO2/p
| (k) | Other comments
| (e) | Monitored Value of the freezer showcase j |  | (c) | Estimated Value of the freezer showcase j | [5 empty] | (c) | Estimated Value of the freezer showcase j
|  | j=1 |  |  | j=1 |  |  |  |  | 3.59 |  | j=1 | 0 | 0 | 0
|  | j=2 |  |  | j=2 | [6 empty] | j=2 | 0 | 0 | 0
|  | j=3 |  |  | j=3 | [6 empty] | j=3 | 0 | 0 | 0
|  | j=4 |  |  | j=4 | [6 empty] | j=4 | 0 | 0 | 0
|  | j=5 |  |  | j=5 | [6 empty] | j=5 | 0 | 0 | 0
|  | j=6 |  |  | j=6 | [6 empty] | j=6 | 0 | 0 | 0
|  | j=7 |  |  | j=7 | [6 empty] | j=7 | 0 | 0 | 0
|  | j=8 |  |  | j=8 | [6 empty] | j=8 | 0 | 0 | 0
|  | j=9 |  |  | j=9 | [6 empty] | j=9 | 0 | 0 | 0
|  | j=10 |  |  | j=10 | [6 empty] | j=10 | 0 | 0 | 0
|  | j=11 |  |  | j=11 | [6 empty] | j=11 | 0 | 0 | 0
|  | j=12 |  |  | j=12 | [6 empty] | j=12 | 0 | 0 | 0
|  | j=13 |  |  | j=13 | [6 empty] | j=13 | 0 | 0 | 0
|  | j=14 |  |  | j=14 | [6 empty] | j=14 | 0 | 0 | 0
|  | j=15 |  |  | j=15 | [6 empty] | j=15 | 0 | 0 | 0
|  | j=16 |  |  | j=16 | [6 empty] | j=16 | 0 | 0 | 0
|  | j=17 |  |  | j=17 | [6 empty] | j=17 | 0 | 0 | 0
|  | j=18 |  |  | j=18 | [6 empty] | j=18 | 0 | 0 | 0
|  | j=19 |  |  | j=19 | [6 empty] | j=19 | 0 | 0 | 0
|  | j=20 |  |  | j=20 | [6 empty] | j=20 | 0 | 0 | 0
|  | j=21 |  |  | j=21 | [6 empty] | j=21 | 0 | 0 | 0
|  | j=22 |  |  | j=22 | [6 empty] | j=22 | 0 | 0 | 0
|  | j=23 |  |  | j=23 | [6 empty] | j=23 | 0 | 0 | 0
|  | j=24 |  |  | j=24 | [6 empty] | j=24 | 0 | 0 | 0
|  | j=25 |  |  | j=25 | [6 empty] | j=25 | 0 | 0 | 0
|  | j=26 |  |  | j=26 | [6 empty] | j=26 | 0 | 0 | 0
|  | j=27 |  |  | j=27 | [6 empty] | j=27 | 0 | 0 | 0
|  | j=28 |  |  | j=28 | [6 empty] | j=28 | 0 | 0 | 0
|  | j=29 |  |  | j=29 | [6 empty] | j=29 | 0 | 0 | 0
|  | j=30 |  |  | j=30 | [6 empty] | j=30 | 0 | 0 | 0
|  | j=31 |  |  | j=31 | [6 empty] | j=31 | 0 | 0 | 0
|  | j=32 |  |  | j=32 | [6 empty] | j=32 | 0 | 0 | 0
|  | j=33 |  |  | j=33 | [6 empty] | j=33 | 0 | 0 | 0
|  | j=34 |  |  | j=34 | [6 empty] | j=34 | 0 | 0 | 0
|  | j=35 |  |  | j=35 | [6 empty] | j=35 | 0 | 0 | 0
|  | j=36 |  |  | j=36 | [6 empty] | j=36 | 0 | 0 | 0
|  | j=37 |  |  | j=37 | [6 empty] | j=37 | 0 | 0 | 0
|  | j=38 |  |  | j=38 | [6 empty] | j=38 | 0 | 0 | 0
|  | j=39 |  |  | j=39 | [6 empty] | j=39 | 0 | 0 | 0
|  | j=40 |  |  | j=40 | [6 empty] | j=40 | 0 | 0 | 0
|  | j=41 |  |  | j=41 | [6 empty] | j=41 | 0 | 0 | 0
|  | j=42 |  |  | j=42 | [6 empty] | j=42 | 0 | 0 | 0
|  | j=43 |  |  | j=43 | [6 empty] | j=43 | 0 | 0 | 0
|  | j=44 |  |  | j=44 | [6 empty] | j=44 | 0 | 0 | 0
|  | j=45 |  |  | j=45 | [6 empty] | j=45 | 0 | 0 | 0
|  | j=46 |  |  | j=46 | [6 empty] | j=46 | 0 | 0 | 0
|  | j=47 |  |  | j=47 | [6 empty] | j=47 | 0 | 0 | 0
|  | j=48 |  |  | j=48 | [6 empty] | j=48 | 0 | 0 | 0
|  | j=49 |  |  | j=49 | [6 empty] | j=49 | 0 | 0 | 0
|  | j=50 |  |  | j=50 | [6 empty] | j=50 | 0 | 0 | 0

## MRS(calc_process)
Monitoring Spreadsheet: JCM_ID_AM008_ver01.0
Sectoral scope: 03
Monitoring Report Sheet (Calculation Process Sheet) [For Verification]
1. Calculations for emission reductions |  |  |  | Fuel type | Value | Units | Parameter
| Emission reductions during the period p |  |  |  | 0 | tCO2/p | ERp
|  | Emission reductions of the fridge showcase |  |  | 0 | tCO2/p | -
|  | Emission reductions of the freezer showcase |  |  | 0 | tCO2/p | -
2. Selected default values, etc.
3. Calculations for reference emissions
| Reference emissions during the period p |  |  |  | 0 | tCO2/p | REp
|  | Reference emissions of the fridge showcase |  |  | 0 | tCO2/p | REfridge,p
|  | Reference emissions of the freezer showcase |  |  | 0 | tCO2/p | REfreezer,p
|  | Reference emissions of the air conditioning system caused by the additional electricity consumption due to additional load caused by exhaust heat from the reference fridge showcase |  |  | 0 | tCO2/p | REAC,add,fridge,p
|  | Reference emissions of the air conditioning system caused by the additional electricity consumption due to additional load caused by exhaust heat from the reference freezer showcase |  |  | 0 | tCO2/p | REAC,add,freezer,p
4. Calculations of the project emissions
| Project emissions during the period p |  |  |  | 0 | tCO2/p | PEp
|  | Project emissions of the project fridge showcase |  |  | 0 | tCO2/p | PEfridge,p
|  | Project emissions of the project freezer showcase |  |  | 0 | tCO2/p | PEfreezer,p
[List of Default Values]
|  |  | Energy efficiency of the reference fridge showcase | Range of volume (L) |  | Energy efficiency
|  |  | Type: Reach-in showcase | z < 900 |  |  | 1.18
|  |  |  | 900 ≦ z < 1200 |  |  | 1.07
|  |  |  | 1200 ≦ z |  |  | 2.24
|  |  | Energy efficiency of the reference fridge showcase | Range of volume (L) |  | Energy efficiency
|  |  | Type: Open showcase | z < 900 |  |  | 0.5
|  |  |  | 900 ≦ z |  |  | 0.65
|  |  |  | 1200 ≦ z |  |  | 0.73
|  |  | Energy efficiency of the reference freezer showcase | Range of volume (L) |  | Energy efficiency
|  |  | Type: Reach-in showcase | z < 900 |  |  | 0.7
|  |  |  | 900 ≦ z |  |  | 0.7
|  |  |  | 1200 ≦ z |  |  | 1.01
|  |  | COP of the reference air conditioning system | Cooling Capacity (kW) |  | Reference COP
|  |  |  | 2.5 < x ≦ 4.1 |  |  | 4
|  |  |  | 4.1 < x ≦ 5.3 |  |  | 3.59
|  |  |  | 5.3 < x ≦ 7.1 |  |  | 2.96
|  |  |  | 7.1 < x ≦ 14.2 |  |  | 2.85